## Instructions 24-47
Instructions: Bin Concentration Calculation 24-47 samples Filtered Systems
Can be used for grandfathered data, initial monitoring, or a combination of the two
When used properly, sheets will correctly calculate monthly mean concentration, 12 month mean concentration, bin concentration and bin classification.
Please enter all facility information including PWS NAME, PWSID, TREATMENT PLANT NAME, TREATMENT PLANT ID, most importantly, SOURCE NAME and SOURCE ID.
1. Check that you are using the proper sheet for the number of samples collected
2. Assure the validity of every result before entering it on this spreadsheet.
3. Enter the sample results (in oocysts/L, to the thousandth) in the proper cell for the samples collected (replacing a "0.000" result if needed).
* Example; If the first month of monitoring is October 2006, enter the first result for October 2006 in the "Month 1", "Result 1" cell.
If there is a second sample that month, enter that result in the "Month 1", "Result 2" cell.
4. The month number (1, 2, 3, etc.) can be changed to the month/year at the user's option (Jan 06, Feb 06, etc.)
5. If there is no sample result for a given month, that month should not be included.
* Example, if samples are collected in October 06 and December 06, but none in November 06 (for example, if a resample was required but not collected until December), October is "Month 1" and December is "Month 2".
6. If there is only 1 sample result for any given month, leave the other "Results" cells for that month blank. DO NOT enter a zero for any missing result.
7. Clear the results from all cells after the end of the monitoring period by selecting those cells, then clicking on "edit", "clear", and "contents" on the toolbar.
* Example: If the PWS collects 26 months of data, clear all of the cells beneath Months 27 - 36.

## Enter Your Data Here
LT2 Bin Concentration Calculation - 24 to 47 samples Filtered System | [6 empty] | PWS Name:
PWS ID:
Treatment Plant Name:
Treatment Plant ID:
Source Name:
Source ID:
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Result 1* | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result 2*
Result 3*
Result 4*
Monthly Mean | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 Month Mean | [11 empty] | 0
Month | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Result 1* | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result 2*
Result 3*
Result 4*
Monthly Mean | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 Month Mean | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Month | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36
Result 1* | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result 2*
Result 3*
Result 4*
Monthly Mean | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 Month Mean | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LT2 Bin Concentration: Highest 12-month Mean |  |  | 0 |  | Bin Classification - from (§141.710(c) |  | 1
* All results in oocyst/L - valid field samples only (no matrix spike, OPR or method blank samples)

## 24-47 Example 1
Example 1 - LT2 Bin Concentration Calculation - 24 to 47 samples Filtered System | [6 empty] | PWS Name: Slickville Water
PWS ID: DC438273
Treatment Plant Name: Yuca Plant
Treatment Plant ID: 301
Source Name: Yuca Reservoir #1
Source ID: 001
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Result 1* | 0 | 0 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0 | 0.1 | 0
Result 2* |  | 0.2 |  | 0.2 |  | 0.2 |  | 0.2 |  | 0.2 |  | 0.2
Result 3*
Result 4*
Monthly Mean | 0 | 0.1 | 0.1 | 0.1 | 0 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
12 Month Mean | [11 empty] | 0.075
Month | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Result 1* | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0 | 0
Result 2* |  | 0.3 |  | 0.3 |  | 0.2 |  | 0.2 |  | 0 |  | 0.2
Result 3*
Result 4*
Monthly Mean | 0 | 0.15 | 0 | 0.15 | 0 | 0.1 | 0 | 0.1 | 0 | 0.05 | 0 | 0.1
12 Month Mean | 0.075 | 0.079167 | 0.070833 | 0.075 | 0.075 | 0.075 | 0.075 | 0.075 | 0.066667 | 0.0625 | 0.054167 | 0.054167
Month | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36
Result 1*
Result 2*
Result 3*
Result 4*
Monthly Mean
12 Month Mean
LT2 Bin Concentration: Highest 12-Month Mean |  |  | 0.079167 |  | Bin Classification - from (§141.710(c) |  | 2
* All results in oocyst/L - valid field samples only (no matrix spike, OPR or method blank samples)

## 24-47 Example 2
Example 2 - LT2 Bin Concentration Calculation - 24 to 47 samples Filtered System | [6 empty] | PWS Name: Anytown
PWS ID: DC1234567
Treatment Plant Name: Super Water Treatment Plant
Treatment Plant ID: 302
Source Name: Yuca Reservoir #2
Source ID: 002
Month | Jun '05 | Jul '05 | Aug '05 | Sept '05 | Oct '05 | Nov '05 | Dec '05 | Jan '06 | Feb '06 | Mar '06 | Apr '06 | May '006
Result 1* | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Result 2*
Result 3*
Result 4*
Monthly Mean | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 Month Mean | [11 empty] | 0
Month | Jun '06 | Jul '06 | Aug '06 | Sept ' 06 | Oct ' 06 | Nov '06 | Dec '06 | Jan '07 | Feb '07 | Mar '07 | Apr '07 | May '07
Result 1* | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0 | 0
Result 2* |  |  |  |  | 0.3 | 0.2 |  | 0 | 0 | 0 | 0 | 0
Result 3* | [7 empty] | 0
Result 4*
Monthly Mean | 0 | 0 | 0 | 0 | 0.15 | 0.1 | 0 | 0 | 0 | 0.1 | 0 | 0
12 Month Mean | 0 | 0 | 0 | 0 | 0.0125 | 0.020833 | 0.020833 | 0.020833 | 0.020833 | 0.029167 | 0.029167 | 0.029167
Month | Jun '07 | Jul '07 | Aug '07 | Sept '07 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36
Result 1* | 0.2 | 0 | 0 | 0
Result 2* | 0 | 0.3 | 0 | 0.2
Result 3*
Result 4*
Monthly Mean | 0.1 | 0.15 | 0 | 0.1
12 Month Mean | 0.0375 | 0.05 | 0.05 | 0.058333
LT2 Bin Concentration: Highest 12-month Mean |  |  | 0.058333 |  | Bin Classification - from (§141.710(c) |  | 1
* All results in oocyst/L - valid field samples only (no matrix spike, OPR or method blank samples)
Note on I16: Re-sample; sample of Dec 15 was invalidated by the lab, resample could not be taken until after Christmas