| Work Plan Recommendation Summary |
| --- |
| General Information |
| Subcommittee | EGTD |
| Work Plan No. | 1 |
| Work Plan Name | Act 129 of 2008 (HB 2200) |
| Work Plan Description | Identifies the carbon emission benefits associated with the reduction of electricity consumption and peak load, as described in Act 129 of 2008 |
| Qualitative Assessment |
| As this is existing law, there is technically no need to vote or recommend. Its estimated GHG reductions are built into the assumptions. The EGTD was generally very supportive of and committed to the opportunities in conservation and demand for increased energy efficiency. Many members of the subcommittee expressed concern that the work plan reaches conclusions with respect to “cost effectiveness” yet DEP’s macroeconomic analysis will not be completed until the end of 2009. Accordingly, several members wanted to express their concern that the economic assumptions and cost effectiveness figure may be suspect because they have not been subject to rigorous economic review and analysis with all costs and impacts addressed (i.e. displaced MW = displaced miners and generation employees). Other members expressed concern that any macroeconomic analysis address costs of inaction (i.e. impacts of global change in PA) as well as savings that might occur from GHG emissions reductions. |
| Measure of Cost Effectiveness ($/tCO2e): | -$65 |
| Average Total Score: | NA |
| Subcommittee Recommendation to the CCAC |
|  | YES | NA | Date of Recommendation: June 29,2009 |
|  | NO | NA |  |
| Work Plan Recommendation Summary |
| General Information |
| Subcommittee | EGTD |
| Work Plan No. | 2 |
| Work Plan Name | Reduced Load Growth |
| Work Plan Description | Builds upon the electricity consumption requirements of Act 129 by requiring biennial reductions in electricity consumption equal to 1.5% per biennial period (0.75%/year), beginning in 2015 and carrying through 2025. |
| Qualitative Assessment |
| The EGTD was generally very supportive of and committed to the opportunities in conservation and demand for increased energy efficiency. Many members of the subcommittee expressed concern that the work plan reaches conclusions with respect to “cost effectiveness” yet DEP’s macroeconomic analysis will not be completed until the end of 2009. Accordingly, several members wanted to express their concern that the economic assumptions and cost effectiveness figure may be suspect because they have not been subject to rigorous economic review and analysis with all costs and impacts addressed (i.e. displaced MW = displaced miners and generation employees). Other members expressed concern that any macroeconomic analysis address costs of inaction (i.e. impacts of global change in PA) as well as savings that might occur from GHG emissions reductions. |
| Measure of Cost Effectiveness ($/tCO2e): | -$64 |
| Average Total Score: | NA |
| Subcommittee Recommendation to the CCAC |
|  | YES | X | Date of Recommendation: June 29, 2009 |
|  | NO |  |  |
| Work Plan Recommendation Summary |
| General Information |
| Subcommittee | EGTD |
| Work Plan No. | 3 |
| Work Plan Name | Stabilized Load Growth |
| Work Plan Description | Builds upon the electricity consumption requirements of Act 129 by requiring additional reductions of 0.75%/year in the period 2015 through the end of 2017, followed by a rate of consumption that is held static from 2018 through 2025. |
| Qualitative Assessment |
| The EGTD was generally very supportive of and committed to the opportunities in conservation and demand for increased energy efficiency. Many members of the subcommittee expressed concern that the work plan reaches conclusions with respect to “cost effectiveness” yet DEP’s macroeconomic analysis will not be completed until the end of 2009. Accordingly, several members wanted to express their concern that the economic assumptions and cost effectiveness figure may be suspect because they have not been subject to rigorous economic review and analysis with all costs and impacts addressed (i.e. displaced MW = displaced miners and generation employees). Other members expressed concern that any macroeconomic analysis address costs of inaction (i.e. impacts of global change in PA) as well as savings that might occur from GHG emissions reductions. |
| Measure of Cost Effectiveness ($/tCO2e): | -$64 |
| Average Total Score: | NA |
| Subcommittee Recommendation to the CCAC |
|  | YES | X | Date of Recommendation: June 29, 2009 |
|  | NO |  |  |
| Work Plan Recommendation Summary |
| General Information |
| Subcommittee | EGTD |
| Work Plan No. | 4 |
| Work Plan Name | Alternative Energy Portfolio (Act 213 of 2004) Tier I Standard |
| Work Plan Description | Identifies GHG reductions associated with the existing AEPS Tier I requirement at 8% |
| Qualitative Assessment |
| As this is existing law, there is technically no need to vote or recommend. In the final conference call June 23, 2009, 2 of the 5 members present (no subcommittee quorum) objected to the following language in the implementation steps: “Legislation continues to be drafted that would require additional increases in the amount of alternative energy. Pennsylvania has the lowest percentage requirements of any surrounding state renewable portfolio standards. Because the geographic scope from which projects may be considered eligible (Illinois to North Carolina) for Act 213 compliance is much broader than was originally intended, and in order to ensure that more renewable energy and associated new jobs are created in PA, the requirements of the AEPS could be increased.” Their concern was the implied suggestion the subcommittee supported the expansion of the AEPS requirements. Because this work plan discusses existing law they viewed this as unnecessary editorializing. On a voice vote of 3-2 the subcommittee elected to retain the language. A number of members raised the issue of considering transmission needs for effective implementation of this work plan. |
| Measure of Cost Effectiveness ($/tCO2e): | -$33 to $26 |
| Average Total Score: | NA |
| Subcommittee Recommendation to the CCAC |
|  | YES | NA | Date of Recommendation: June 29,2009 |
|  | NO | NA |  |
| Work Plan Recommendation Summary |
| General Information |
| Subcommittee | EGTD |
| Work Plan No. | 5 |
| Work Plan Name | House Bill 80 (Print #1000): Carbon Capture and Sequestration in 2014 |
| Work Plan Description | Carbon capture retrofit to existing supercritical pulverized coal plants per the requirements in HB 80 (as referred to the Committee on Environmental Resources and Energy on March 12, 2009), starting in 2015 through 2019 |
| Qualitative Assessment |
| The EGTD was generally supportive of the prospects for carbon capture and sequestration (CC&S) given its potential for utilization of PA coal resources and potential contribution to PA’s economy. A number of utility EGTD members expressed concern that the deadlines in the bill are overly aggressive and do not account for the limitations of engineering, planning, financing, permitting and construction, especially for a technology not yet operative at a scaled up level for a supercritical coal-fired power plant. At least one member voted against the work plan concerned that construction of a plant coupled with failure of CC&S would leave the Commonwealth with another major source of GHG: "The above analysis does not account for the possibility of a viable sequestration site not being developed in Pennsylvania. In terms of GHG reductions, this would be effectively equivalent to a "0%" capture rate. If a new power plant is brought on line to test and advance CCS, and then a viable sequestration site is not completed, the end result would be a net increase in GHG emissions. This increase could however be offset if less efficient power plants are being taken off line or producing less power in lieu of the new plant's power production." Other members countered that such a new, more efficient plant, even with a failure or delay of CC&S, would be more efficient than older plants it might replace with respect to tons of CO2 per MWh. Many members of the subcommittee expressed concern that the work plan reaches conclusions with respect to “cost effectiveness” yet DEP’s macroeconomic analysis will not be completed until the end of 2009. Accordingly, several members wanted to express their concern that the economic assumptions and cost effectiveness figure may be suspect because they have not been subject to rigorous economic review and analysis with all costs and impacts addressed (i.e. displaced MW = displaced miners and generation employees). Other members expressed concern that any macroeconomic analysis address costs of inaction (i.e. impacts of global change in PA) as well as savings that might occur from GHG emissions reductions. |
| Measure of Cost Effectiveness ($/tCO2e): | $58 |
| Average Total Score: | NA |
| Subcommittee Recommendation to the CCAC |
|  | YES | X | Date of Recommendation: June 29, 2009 |
|  | NO |  |  |

| Work Plan Recommendation Summary |
| --- |
| General Information |
| Subcommittee | EGTD |
| Work Plan No. | 6 |
| Work Plan Name | Improve Coal-Fired Power Plant Efficiency by 5% |
| Work Plan Description | Requires a 5% increase in energy efficiency at coal-fired power plants by 2025 |
| Qualitative Assessment |
| The EGTD was supportive of efforts to improve the efficiency of existing coal-fired power plants and saw such initiatives as feasible subject to the New Source Review (NSR) discussion below. Utility members of the EGTD believe based on their experience and pending litigation the projects listed as efficiency improvement opportunities would generally be viewed by DEP, USEPA and others as triggering NSR under the federal Clean Air Act. The utility members pointed out this position has and would dramatically and fundamentally alter the “cost effectiveness” and economics of the work plan. NSR triggers would implicate a host of other, significant emissions control modifications that would potentially render the efficiency costs insignificant. Accordingly, they view this work plan as impracticable absent some resolution of the NSR issue. The issue is not the feasibility of the work plan recommendations, but that DEP itself contends such projects require significant capital expenditure beyond the costs of the efficiency project. Many members of the subcommittee expressed concern that the work plan reaches conclusions with respect to “cost effectiveness” yet DEP’s macroeconomic analysis will not be completed until the end of 2009. Accordingly, several members wanted to express their concern that the economic assumptions and cost effectiveness figure may be suspect because they have not been subject to rigorous economic review and analysis with all costs and impacts addressed (i.e. displaced MW = displaced miners and generation employees). Other members expressed concern that any macroeconomic analysis address costs of inaction (i.e. impacts of global change in PA) as well as savings that might occur from GHG emissions reductions. |
| Measure of Cost Effectiveness ($/tCO2e): | $1 |
| Average Total Score: | NA |
| Subcommittee Recommendation to the CCAC |
|  | YES | X | Date of Recommendation: June 29, 2009 |
|  | NO |  |  |
| Work Plan Recommendation Summary |
| General Information |
| Subcommittee | EGTD |
| Work Plan No. | 7 |
| Work Plan Name | Sulfur Hexafluoride (SF6) Emission Reductions From the Electric Power Industry |
| Work Plan Description | Uses a pollution prevention approach, including a best management practice (BMP) manual and recordkeeping and reporting requirements, to ensure that all SF6 emission reductions are quantified and permanent |
| Qualitative Assessment |
| 1. While the EGTD was supportive of SF6 reductions, because of a) the small amount of CO2 equivalents that could be reduced, b) the long term trend downwards of SF6 releases and c) ongoing industry and USEPA efforts to further reduce losses, we view this as a work plan of limited value or potential. However it is forwarded to warrant future review and updating. |
| Measure of Cost Effectiveness ($/tCO2e): | $0.6 |
| Average Total Score: | NA |
| Subcommittee Recommendation to the CCAC |
|  | YES | X | Date of Recommendation: June 29, 2009 |
|  | NO |  |  |
| Work Plan Recommendation Summary |
| General Information |
| Subcommittee | EGTD |
| Work Plan No. | 8 |
| Work Plan Name | Analysis to Evaluate Potential Impacts Associated with Joining Regional Greenhouse Gas Initiative (RGGI) |
| Work Plan Description | Quantify the emissions reductions associated with joining RGGI |
| Qualitative Assessment |
| This is an added work plan that was not in the original DEP portfolio and was reviewed in response to a public comment. The EGTD voted against including this work plan for a number of reasons: a) RGGI is several years into its process and given the time it took RGGI states to develop, promulgate and implement regulations, it would be infeasible for PA to join, b) RGGI essentially sets targets and does not identify the sources of reduction and thus is duplicative of the efforts of the CCAC, c) RGGI would have more costly effects on PA as a coal-rich energy exporter, d) RGGI would be unlikely to gain any political support for the above and other reasons, and e) RGGI would introduce a state-specific cap and trade in the face of pending federal cap and trade legislation. The data and CCS analysis on RGGI is, however, a useful addition to the DEP’s climate change library so the EGTD recommends the work plan be viewed as an appendix or attachment by DEP so as not to lose the data and analysis. A number of members expressed concern that a Maryland economic study was cited for how RGGI might affect Pennsylvania ratepayers, although in view of the vote against the work plan, this concern becomes moot for the time being. Those members would, however, caution DEP about relying on non-PA assessments and extrapolating to Pennsylvania with respect to energy costs and economic impact. |
| Measure of Cost Effectiveness ($/tCO2e): | NA |
| Average Total Score: | NA |
| Subcommittee Recommendation to the CCAC |
|  | YES |  | Date of Recommendation: June 29, 2009 |
|  | NO | X |  |

| Work Plan Recommendation Summary |
| --- |
| General Information |
| Subcommittee | EGTD |
| Work Plan No. | 9 |
| Work Plan Name | Promote Combined Heat and Power (CHP) |
| Work Plan Description | Encourages distributed CHP systems to reduce fossil fuel use and GHG emissions |
| Qualitative Assessment |
| The EGTD was generally supportive of this work plan and its potential to make the energy chain more efficient. However, there is significant concern about the many barriers which are alluded to in the work plan. Its potential may be more remote than suggested notwithstanding its attraction. The major issue here is the very broad assumptions and scenarios that underlie these CO2 reductions and costs. The many barriers (legal, technical, economic, political, geographical) would have to be further assessed. Many members of the subcommittee expressed concern that the work plan reaches conclusions with respect to “cost effectiveness” yet DEP’s macroeconomic analysis will not be completed until the end of 2009. Accordingly, several members wanted to express their concern that the economic assumptions and cost effectiveness figure may be suspect because they have not been subject to rigorous economic review and analysis with all costs and impacts addressed (i.e. displaced MW = displaced miners and generation employees). Other members expressed concern that any macroeconomic analysis address costs of inaction (i.e. impacts of global change in PA) as well as savings that might occur from GHG emissions reductions. |
| Measure of Cost Effectiveness ($/tCO2e): | $12 |
| Average Total Score: | NA |
| Subcommittee Recommendation to the CCAC |
|  | YES | X | Date of Recommendation: June 29, 2009 |
|  | NO |  |  |

| Work Plan Recommendation Summary |
| --- |
| General Information |
| Subcommittee | EGTD |
| Work Plan No. | 10 |
| Work Plan Name | Nuclear Capacity |
| Work Plan Description | Examines the potential impact of capacity uprates at existing nuclear plants in PA as well as a new plant build (PPL’s proposed 1600-MW Bell Bend plant) |
| Qualitative Assessment |
| This work plan incorporates both existing facility uprates, some of which, are already in progress as well as new nuclear capacity. With respect to existing plant uprates, the EGTD generally supported increase in capacity for existing facilities, but a number of members believed they did not have enough information on life cycle costs to move forward (e.g., waste stream management and costs). One member voted against the work plan being opposed to any new nuclear capacity, but the EGTD decision to not recommend moots this concern for the time being. In any event, some members pointed out, the listed projects are already in motion. With respect to new capacity, a number of members believed there was inadequate data or discussion to warrant moving forward especially given the plan complexity, technical uncertainties and relation to national and state energy policy. The EGTD did decide to recommend DEP further analyze and review this work plan even though it does not yet seem ready for DEP action going forward. A number of members suggested this could be reviewed in three years as part of the periodic DEP review of its nascent action plan. |
| Measure of Cost Effectiveness ($/tCO2e): | $57 |
| Average Total Score: | NA |
| Subcommittee Recommendation to the CCAC |
|  | YES |  | Date of Recommendation: June 29, 2009 |
|  | NO | X |  |

| Work Plan Recommendation Summary |
| --- |
| General Information |
| Subcommittee | EGTD |
| Work Plan No. | 11 |
| Work Plan Name | Performance Standards for New Generation |
| Work Plan Description | Policy consideration to address new fossil-fueled power plants to ensure consistency with and maintain PA’s climate action plan |
| Qualitative Assessment |
| Because of the complexity and technical uncertainties in this work plan, it was withdrawn from CCS analysis and the EGTD elected to include it as a non-quantified, policy recommendation for further review by DEP. Some members pointed out that some versions of proposed federal legislation contain such performance standards. Proposed language drafted by the EGTD Chair and DEP was distributed to the subcommittee on June 24, 2009 and comments are now coming in. Subject to EGTD approval, that statement would read: A Greenhouse Gas Performance Standard for New Power Plants work plan is a potential policy measure to ensure that newly added fossil fuel-fired electric generating capacity would be consistent with the efforts of the Commonwealth to establish and maintain a climate change action plan. It would involve detailed technical and economic assessments potentially leading to a standard that would provide an equitable working environment for all sectors of Pennsylvania's economy, and that would balance the goal of reducing greenhouse gas emissions with the capability of meeting future energy demand within the Commonwealth. Such a performance standard could conceivably set standards unachievable by existing or proposed coal-fired generation and only possible through carbon capture and sequestration. (CCS) CCS is not currently commercially available at the scale required nor are there other technologies on the immediate horizon that could significantly reduce CO2 emissions. Generators could possibly meet the overall greenhouse gas reduction standards through the purchase of an equivalent volume of Certified Emissions Reductions, but this would also involve a detailed analysis of the available market and how it could be structurally related to a performance standard. Accordingly, the subcommittee recommends that if DEP wishes to include such a work plan/standard, it be promoted as a non-quantifiable policy initiative in the Climate Change Action Plan. |
| Measure of Cost Effectiveness ($/tCO2e): | Not Quantified |
| Average Total Score: | NA |
| Subcommittee Recommendation to the CCAC |
|  | YES | NA | Date of Recommendation: June 29, 2009 |
|  | NO | NA |  |
| Work Plan Recommendation Summary |
| General Information |
| Subcommittee | EGTD |
| Work Plan No. | 12 |
| Work Plan Name | Improve the Transmission & Distribution System |
| Work Plan Description | Examine potential increases in efficiency associated with new and existing transmission & distribution lines |
| Qualitative Assessment |
| Because of the complexity, technical uncertainties and relation to national and state energy policy in this work plan, it was withdrawn from CCS analysis and the EGTD elected to include it as a non-quantified, policy recommendation for further review by DEP. |
| Measure of Cost Effectiveness ($/tCO2e): | Not Quantified |
| Average Total Score: | NA |
| Subcommittee Recommendation to the CCAC |
|  | YES | NA | Date of Recommendation: June 29, 2009 |
|  | NO | NA |  |