## Organics
|  | AQUEOUS METHODS (µg/L) |  |  |  |  | SOILS METHODS (mg/kg) |  |  |  |  | Practical Quantitation Limit |  | PQL
[5 empty] | DETECTION |  |  |  |  | DETECTION |  | Ground | Low Soil/ | Ground | Soil
REGULATED SUBSTANCE | CASRN |  |  |  | LIMIT |  |  |  |  | LIMIT |  | Water | Sediment | Water
|  | ORG | METHOD | APPARATUS | TYPE | VALUE | ORG | METHOD | APPARATUS | TYPE | VALUE | ug/L | mg/kg | ug/L | mg/kg
ACENAPHTHENE | 83-32-9 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
ACENAPHTHYLENE | 208-96-8 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
ACEPHATE | 30560-19-1 | [10 empty] | 0 | 0
ACETALDEHYDE | 75-07-0 | EMSLC | 554 | HPLC | MDL | 44 |  | 8315A |  | MDL | 43.7 | 139.92 | 138.966 | 100 | 140
ACETONE | 67-64-1 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
ACETONITRILE | 75-05-8 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
ACETOPHENONE | 98-86-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
ACETYLAMINOFLUORENE, 2- (2AAF) | 53-96-3 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
ACROLEIN | 107-02-8 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
ACRYLAMIDE | 79-06-1 | OSW | 8032 | GCECD | MDL | 0.032 | [5 empty] | 0.10176 | 0 | 0.1
ACRYLIC ACID | 79-10-7 | [10 empty] | 0 | 0
ACRYLONITRILE | 107-13-1 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
ALACHLOR | 15972-60-8 | EMSLC | 505 | CGCECD | MDL | 0.23 | -- |  |  |  |  | 0.7314 | 0 | 0.7
ALDICARB | 116-06-3 | OSW | 8321A |  | MDL | 1.4 | OSW | 8321A |  | MDL | 0.017 | 4.452 | 0.05406 | 4 | 0.054
ALDRIN | 309-00-2 | OSW | 8081A | CGCECD | MDL | 1.4 | OSW | 8081A | GCECD | MDL | 0.0022 | 4.452 | 0.006996 | 4 | 0.007
ALLYL ALCOHOL | 107-18-6 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
AMINOBIPHENYL, 4- | 92-67-1 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
AMITROLE | 61-82-5 | [10 empty] | 0 | 0
AMMONIA | 7664-41-7 | [10 empty] | 0 | 0
AMMONIUM SULFAMATE | 7773-06-0 | [10 empty] | 0 | 0
ANILINE | 62-53-3 | OSW | 8131 |  | EQL | 23 | OSW | 8131 |  | MDL | 2.3 | 23 | 7.314 | 20 | 7.3
ANTHRACENE | 120-12-7 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
ATRAZINE | 1912-24-9 | EMSLC | 505 | CGCECD | MDL | 2.4 | OSW | 8141 | CGCFPD |  |  | 7.632 | 0 | 8
BAYGON (PROPOXUR) | 114-26-1 |  | 531.1 |  | MDL | 1 |  | 8318 |  | MDL | 17 | 3.18 | 54.06 | 3 | 54
BENOMYL | 17804-35-2 |  | 8321A |  | MDL | 0.4 |  | 8321A |  | MDL | 0.025 | 1.272 | 0.0795 | 1 | 0.08
BENTAZON | 25057-89-0 |  | 8151A |  | MDL | 0.2 |  | 8151A |  |  |  | 0.636 | 0 | 0.6
BENZENE | 71-43-2 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
BENZIDINE | 92-87-5 |  | 8270C |  |  |  |  | 8270C |  |  |  | 0 | 0
BENZO[A]ANTHRACENE | 56-55-3 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
BENZO[A]PYRENE | 50-32-8 |  | 610 | HPLC | MDL | 0.023 | OSW | 8270C | CGCMS | EQL | 0.66 | 0.07314 | 0.66 | 0.07 | 0.66
BENZO[B]FLUORANTHENE | 205-99-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
BENZO[GHI]PERYLENE | 191-24-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
BENZO[K]FLUORANTHENE | 207-08-9 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
BENZOIC ACID | 65-85-0 | OSW | 8270C | CGCMS | EQL | 50 | OSW | 8270C | CGCMS | EQL | 3.3 | 50 | 3.3 | 50 | 3.3
BENZOTRICHLORIDE | 98-07-7 |  | 8121 |  | EQL | 0.06 |  | 8121 |  | MDL | 0.006 | 0.06 | 0.01908 | 0.06 | 0.019
BENZYL ALCOHOL | 100-51-6 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS | EQL | 1.3 | 20 | 1.3 | 20 | 1.3
BENZYL CHLORIDE | 100-44-7 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
BHC, ALPHA- | 319-84-6 | OSW | 8081A | GCECD | EQL | 0.35 | OSW | 8081A | GCECD | EQL | 1.273 | 0.35 | 1.273 | 0.4 | 1.3
BHC, BETA- | 319-85-7 | OSW | 8081A | GCECD | EQL | 0.23 | OSW | 8081A | GCECD | EQL | 2.211 | 0.23 | 2.211 | 0.2 | 2.2
BHC, DELTA- | 319-86-8 | OSW | 8081A | GCECD | EQL | 0.24 | OSW | 8081A | GCECD | EQL | 0.737 | 0.24 | 0.737 | 0.2 | 0.74
BHC, GAMMA (LINDANE) | 58-89-9 |  | 608 | GC/ECD | MDL | 0.004 | OSW | 8081A | GCECD | EQL | 0.002 | 0.01272 | 0.002 | 0.01 | 0.002
BIPHENYL, 1,1- | 92-52-4 | [10 empty] | 0 | 0
BIS(2-CHLOROETHOXY)METHANE | 111-91-1 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 660 | 10 | 660
BIS(2-CHLOROETHYL)ETHER | 111-44-4 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
BIS(2-CHLORO-ISOPROPYL)ETHER | 39638-32-9 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
BIS(CHLOROMETHYL)ETHER | 542-88-1 | [10 empty] | 0 | 0
BIS[2-ETHYLHEXYL] PHTHALATE | 117-81-7 |  | 525.2 |  | MDL | 0.46 | OSW | 8270C | CGCMS | EQL | 0.66 | 1.4628 | 0.66 | 1 | 0.66
BISPHENOL A | 80-05-7 | [10 empty] | 0 | 0
BROMACIL | 314-40-9 |  | 8321A |  | MDL | 0.4 |  | 8321A |  | MDL | 0.021 | 1.272 | 0.06678 | 1 | 0.067
BROMOCHLOROMETHANE | 74-97-5 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
BROMODICHLOROMETHANE | 75-27-4 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
BROMOMETHANE | 74-83-9 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
BROMOPHENYL PHENYL ETHER, 4- | 101-55-3 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
BROMOXYNIL | 1689-84-5 |  | 8270C |  |  |  |  | 8270C |  |  |  | 0 | 0
BROMOXYNIL OCTANOATE | 1689-99-2 | [10 empty] | 0 | 0
BUTADIENE, 1,3- | 106-99-0 | [10 empty] | 0 | 0
BUTYL ACETATE, N- | 123-86-4 | [10 empty] | 0 | 0
BUTYL ACETATE, SEC- | 105-46-4 | [10 empty] | 0 | 0
BUTYL ACETATE, TERT- | 540-88-5 | [10 empty] | 0 | 0
BUTYL ALCOHOL, N- | 71-36-3 | OSW | 8015B | GCFID | MDL | 8 | OSW | 8015B |  | MDL | 0.23 | 25.44 | 0.7314 | 30 | 0.73
BUTYLAMINE, N- | 109-73-9 | [10 empty] | 0 | 0
BUTYLATE | 2008-41-5 |  | 525.2 |  | MDL | 0.064 | [5 empty] | 0.20352 | 0 | 0.2
BUTYLBENZENE, N- | 104-51-8 |  | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
BUTYLBENZENE, SEC- | 135-98-8 |  | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
BUTYLBENZENE, TERT- | 98-06-6 |  | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
BUTYLBENZYL PHTHALATE | 85-68-7 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
CAPTAN | 133-06-2 | OSW | 8270C | CGCMS | EQL | 50 | OSW | 8270C | CGCMS |  |  | 50 | 0 | 50
CARBARYL | 63-25-2 | OSW | 8318 | HPLC | MDL | 1.7 | OSW | 8318 | HPLC | MDL | 0.031 | 5.406 | 0.09858 | 5 | 0.099
CARBAZOLE | 86-74-8 | [10 empty] | 0 | 0
CARBOFURAN | 1563-66-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL |  | 10 | 0 | 10
CARBON DISULFIDE | 75-15-0 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
CARBON TETRACHLORIDE | 56-23-5 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
CARBOXIN | 5234-68-4 |  | 525.2 |  | MDL | 0.4 | [5 empty] | 1.272 |  | 1
CATECHOL | 120-80-9 | [10 empty] | 0
CHLORAMBEN | 133-90-4 | OSW | 8151A |  | MDL | 0.093 | [5 empty] | 0.29574 |  | 0.3
CHLORDANE | 57-74-9 |  | 505 |  | MDL | 0.14 | OSW | 8081A | GCECD | EQL |  | 0.4452 | 0 | 0.4
CHLORO-1,1-DIFLUOROETHANE, 1- | 75-68-3 | [10 empty] | 0 | 0
CHLORO-1-PROPENE, 3- (ALLYL CHLORIDE) | 107-05-1 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
CHLOROACETALDEHYDE | 107-20-0 | [10 empty] | 0 | 0
CHLOROACETOPHENONE, 2- | 532-27-4 | [10 empty] | 0 | 0
CHLOROANILINE, P- | 106-47-8 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS | EQL | 1.3 | 20 | 1.3 | 20 | 1.3
CHLOROBENZENE | 108-90-7 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
CHLOROBENZILATE | 510-15-6 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
CHLOROBUTANE, 1- | 109-69-3 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
CHLORODIBROMOMETHANE | 124-48-1 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
CHLORODIFLUOROMETHANE | 75-45-6 | [10 empty] | 0 | 0
CHLOROETHANE | 75-00-3 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
CHLOROETHYL VINYL ETHER, 2- | 110-75-8 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
CHLOROFORM | 67-66-3 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
CHLORONAPHTHALENE, 2- | 91-58-7 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
CHLORONITROBENZENE, P- | 100-00-5 | [10 empty] | 0 | 0
CHLOROPHENOL, 2- | 95-57-8 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
CHLOROPHENYL PHENYL ETHER, 4- | 7005-72-3 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
CHLOROPRENE | 126-99-8 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
CHLOROPROPANE, 2- | 75-29-6 | [10 empty] | 0 | 0
CHLOROTHALONIL | 1897-45-6 |  | 8081A |  |  |  |  | 8081A |  |  |  | 0 | 0
CHLOROTOLUENE, O- | 95-49-8 | [10 empty] | 0 | 0
CHLORPYRIFOS | 2921-88-2 | OSW | 8141A |  | MDL | 0.07 | OSW | 8141A |  | MDL | 5 | 0.2226 | 15.9 | 0.2 | 16
CHLORSULFURON | 64902-72-3 | [10 empty] | 0 | 0
CHLORTHAL-DIMETHYL (DACTHAL) (DCPA) | 1861-32-1 |  | 8081A |  |  |  |  | 8081A |  |  |  | 0 | 0
CHRYSENE | 218-01-9 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
CRESOL(S) | 1319-77-3 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
CRESOL, 0- (METHYLPHENOL, 2-) | 95-48-7 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
CRESOL, M (METHYLPHENOL, 3-) | 108-39-4 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
CRESOL, P (METHYLPHENOL, 4-) | 106-44-5 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
CRESOL, P-CHLORO-M- | 59-50-7 | [10 empty] | 0 | 0
CROTONALDEHYDE | 4170-30-3 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
CROTONALDEHYDE, TRANS- | 123-73-9 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
CUMENE | 98-82-8 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
CYCLOHEXANE | 110-82-7 | [10 empty] | 0 | 0
CYCLOHEXANONE | 108-94-1 | OSW | 8315 | HPLC | MDL | 6.9 | [5 empty] | 21.942 | 0 | 20
CYFLUTHRIN | 68359-37-5 | [10 empty] | 0 | 0
CYROMAZINE | 66215-27-8 | [10 empty] | 0 | 0
DDD, 4,4'- | 72-54-8 | OSW | 8081AA | GCECD | MDL | 0.05 | OSW | 8081AA | GCECD | MDL | 0.0042 | 0.159 | 0.013356 | 0.2 | 0.013
DDE, 4,4'- | 72-55-9 | OSW | 8081AA | GCECD | MDL | 0.058 | OSW | 8081AA | GCECD | MDL | 0.0025 | 0.18444 | 0.00795 | 0.2 | 0.008
DDT, 4,4'- | 50-29-3 | OSW | 8081AA | GCECD | MDL | 0.081 | OSW | 8081AA | GCECD | MDL | 0.0036 | 0.25758 | 0.011448 | 0.3 | 0.011
DECABORANE | 17702-41-9 | [10 empty] | 0 | 0
DI(2-ETHYLHEXYL)ADIPATE | 103-23-1 |  | 525.2 |  | MDL | 0.09 | [5 empty] | 0.2862 | 0 | 0.3
DIALLATE | 2303-16-4 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
DIAMINOTOLUENE, 2,4- | 95-80-7 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
DIAZINON | 333-41-5 |  | 525.2 |  | MDL | 0.11 | OSW | 8141A | CGCFPD | EQL | 0.1 | 0.3498 | 0.1 | 0.3 | 0.1
DIBENZO[A,H]ANTHRACENE | 53-70-3 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
DIBENZOFURAN | 132-64-9 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
DIBROMO-3-CHLOROPROPANE, 1,2- | 96-12-8 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
DIBROMOBENZENE, 1,4- | 106-37-6 | [10 empty] | 0 | 0
DIBROMOETHANE, 1,2- (ETHYLENE DIBROMIDE) | 106-93-4 |  | 524.2 |  | MDL | 0.06 | OSW | 8260B | CGCMS | EQL | 0.005 | 0.1908 | 0.005 | 0.2 | 0.005
DIBROMOMETHANE | 74-95-3 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
DIBUTYL PHTHALATE, N- | 84-74-2 | OSW | 8270C | CGCMS | EQL | 10 | [5 empty] | 10 | 0 | 10
DICHLORO-2-BUTENE, 1,4- | 764-41-0 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
DICHLORO-2-BUTENE, TRANS-1,4- | 110-57-6 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
DICHLOROBENZENE, 1,2- | 95-50-1 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
DICHLOROBENZENE, 1,3- | 541-73-1 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
DICHLOROBENZENE, P- | 106-46-7 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
DICHLOROBENZIDINE, 3,3'- | 91-94-1 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS | EQL | 1.3 | 20 | 1.3 | 20 | 1.3
DICHLORODIFLUOROMETHANE (FREON 12) | 75-71-8 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
DICHLOROETHANE, 1,1- | 75-34-3 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
DICHLOROETHANE, 1,2- | 107-06-2 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
DICHLOROETHYLENE, 1,1- | 75-35-4 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
DICHLOROETHYLENE, CIS-1,2- | 156-59-2 | EMSLC | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
DICHLOROETHYLENE, TRANS-1,2- | 156-60-5 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
DICHLOROMETHANE (METHYLENE CHLORIDE) | 75-09-2 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
DICHLOROPHENOL, 2,4- | 120-83-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
DICHLOROPHENOXYACETIC ACID, 2,4- (2,4-D) | 94-75-7 | OSW | 8151A | CGCECD | MDL | 0.2 | OSW | 8151A | CGCECD | MDL | 0.00011 | 0.636 | 0.0003498 | 0.6 | 0.00035
DICHLOROPROPANE, 1,2- | 78-87-5 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
DICHLOROPROPENE, 1,3- | 542-75-6 | [10 empty] | 0 | 0
DICHLOROPROPIONIC ACID, 2,2- (DALAPON) | 75-99-0 | OSW | 8151A | CGCECD | MDL | 1.3 | OSW | 8151A | CGCECD | MDL | 0.12 | 4.134 | 0.3816 | 4 | 0.38
DICHLORVOS | 62-73-7 | OSW | 8141A | CGCFPD | EQL | 8 | OSW | 8141 | CGCFPD | EQL | 0.4 | 8 | 0.4 | 8 | 0.4
DICYCLOPENTADIENE | 77-73-6 | [10 empty] | 0 | 0
DIELDRIN | 60-57-1 | OSW | 8081A | GC | MDL | 0.44 | [5 empty] | 1.3992 | 0 | 1
DIETHANOLAMINE | 111-42-2 | [10 empty] | 0 | 0
DIETHYL PHTHALATE | 84-66-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
DIETHYLAMINE | 109-89-7 | [10 empty] | 0 | 0
DIFLUBENZURON | 35367-38-5 | [10 empty] | 0 | 0
DIGLYCIDYL ETHER (DGE) | 2238-07-5 | [10 empty] | 0 | 0
DIMETHOATE | 60-51-5 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
DIMETHOXYBENZIDINE, 3,3- | 119-90-4 | OSW | 8270C | CGCMS | EQL | 100 | OSW | 8270C | CGCMS |  |  | 100 | 0 | 100
DIMETHYL PHTHALATE | 131-11-3 | OSW | 8270C | CGCMS | EQL | 40 | OSW | 8270C | CGCMS | EQL | 0.66 | 40 | 0.66 | 40 | 0.66
DIMETHYL SULFATE | 77-78-1 | [8 empty] | EQL | 1.66 | 0 | 1.66 |  | 1.7
DIMETHYLAMINOAZOBENZENE, P- | 60-11-7 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
DIMETHYLANILINE, N,N- | 121-69-7 | [10 empty] | 0 | 0
DIMETHYLBENZIDINE, 3,3- | 119-93-7 | [10 empty] | 0 | 0
DIMETHYLHYDRAZINE, 1,1- | 57-14-7 | [10 empty] | 0 | 0
DIMETHYLPHENETHYLAMINE, ALPHA, ALPHA- | 122-09-8 | OSW | 8270C | CGCMS |  |  |  | 8270C | CGCMS |  |  | 0 | 0
DIMETHYLPHENOL, 2,4- | 105-67-9 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
DINITROBENZENE, 1,3- | 99-65-0 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
DINITRO-O-CRESOL, 4,6- | 534-52-1 | OSW | 8270C | CGCMS | EQL | 50 | OSW | 8270C | CGCMS | EQL | 3.3 | 50 | 3.3 | 50 | 3.3
DINITROPHENOL, 2,4- | 51-28-5 | OSW | 8270C | CGCMS | EQL | 50 | OSW | 8270C | CGCMS | EQL | 3.3 | 50 | 3.3 | 50 | 3.3
DINITROTOLUENE, 2,4- | 121-14-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
DINITROTOLUENE, 2,6- (2,6-DNT) | 606-20-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
DINOSEB | 88-85-7 |  | 515.1 |  | MDL | 0.33 | OSW | 8270b | CGCMS |  |  | 1.0494 | 0 | 1
DIOXANE, 1,4- | 123-91-1 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
DIOXATHION | 78-34-2 | [10 empty] | 0 | 0
DIPHENAMID | 957-51-7 |  | 525.2 |  | MDL | 0.041 | [5 empty] | 0.13038 | 0 | 0.1
DIPHENYLAMINE | 122-39-4 | OSW | 8270C | CGCMS |  |  | OSW | 8270C | CGCMS |  |  | 0 | 0
DIPHENYLHYDRAZINE, 1,2- | 122-66-7 | OSW | 8270C | CGCMS |  |  | OSW | 8270C | CGCMS |  |  | 0 | 0
DIQUAT | 85-00-7 | EMSLC | 549.1 | HPLCUV | MDL | 0.51 | -- |  |  |  |  | 1.6218 | 0 | 2
DISULFOTON | 298-04-4 | OSW | 8141A | CGFPD | EQL | 0.7 | OSW | 8141A | CGCFPD | EQL | 0.035 | 0.7 | 0.035 | 0.7 | 0.035
DIURON | 330-54-1 | OSW | 8321A | HPLCMS | MDL | 0.4 | OSW | 8321A | HPLCMS | MDL | 0.018 | 1.272 | 0.05724 | 1 | 0.057
ENDOSULFAN | 115-29-7 | [10 empty] | 0 | 0
ENDOSULFAN I (ALPHA) | 959-98-8 | OSW | 8081A | CGCECD | EQL | 0.3 | OSW | 8081A | CGCECD | EQL | 1.407 | 0.3 | 1.407 | 0.3 | 1.4
ENDOSULFAN II (BETA) | 33213-65-9 | OSW | 8081A | CGCECD | EQL | 0.4 | OSW | 8081A | CGCECD | EQL | 1.608 | 0.4 | 1.608 | 0.4 | 1.6
ENDOSULFAN SULFATE | 1031-07-8 | OSW | 8081A | CGCECD | EQL | 0.35 | OSW | 8081A | CGCECD | EQL | 2.412 | 0.35 | 2.412 | 0.4 | 2.4
ENDOTHALL | 145-73-3 | EMSLC | 548.1 | CGCECD | MDL | 1.8 | [5 empty] | 5.724 | 0 | 6
ENDRIN | 72-20-8 |  | 525.2 |  | MDL | 0.29 | OSW | 8081A | CGCECD | EQL | 2.412 | 0.9222 | 2.412 | 0.9 | 2.4
EPICHLOROHYDRIN | 106-89-8 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
ETHEPHON | 16672-87-0 | [10 empty] | 0 | 0
ETHION | 563-12-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
ETHOXYETHANOL, 2- (EGEE) | 110-80-5 | -- |  |  |  |  | -- |  |  |  |  | 0 | 0
ETHYL ACETATE | 141-78-6 | ASTM | D3695 | GCFID | MDL | 1000 | -- |  |  |  |  | 3180 | 0 | 3000
ETHYL ACRYLATE | 140-88-5 | ASTM | D3695 | GCFID | MDL | 1000 | -- |  |  |  |  | 3180 | 0 | 3000
ETHYL BENZENE | 100-41-4 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
ETHYL DIPROPYLTHIOCARBAMATE, S- (EPTC) | 759-94-4 |  | 525.2 |  | MDL | 0.056 | [5 empty] | 0.17808 | 0 | 0.2
ETHYL ETHER | 60-29-7 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
ETHYL METHACRYLATE | 97-63-2 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
ETHYL METHANESULFONATE | 62-50-0 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
ETHYLAMINE | 75-04-7 | [10 empty] | 0 | 0
ETHYLENE CHLORHYDRIN | 107-07-3 | [10 empty] | 0 | 0
ETHYLENE GLYCOL | 107-21-1 |  | 8015B |  |  |  |  | 8015B |  |  |  | 0 | 0
ETHYLENE THIOUREA (ETU) | 96-45-7 |  | 509 |  | MDL | 2.7 | [5 empty] | 8.586 | 0 | 9
ETHYLP-NITROPHENYL PHENYLPHOSPHOROTHIOATE | 2104-64-5 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
FAMPHUR | 52-85-7 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
FENAMIPHOS | 22224-92-6 | EMSLC | 525.2 |  | MDL | 0.95 | [5 empty] | 3.021 | 0 | 3
FENSULFOTHION | 115-90-2 | OSW | 8270C | CGCMS | EQL | 40 | OSW | 8270C | CGCMS |  |  | 40 | 0 | 40
FENVALERATE (PYDRIN) | 51630-58-1 | [10 empty] | 0 | 0
FLUOMETURON | 2164-17-2 |  | 8321A |  | MDL | 0.6 |  | 8321A |  | MDL | 0.011 | 1.908 | 0.03498 | 2 | 0.035
FLUORANTHENE | 206-44-0 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
FLUORENE | 86-73-7 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
FLUOROTRICHLOROMETHANE (FREON 11) | 75-69-4 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
FONOFOS | 944-22-9 |  | 8141A |  |  |  |  | 8141A |  |  |  | 0 | 0
FORMALDEHYDE | 50-00-0 | OSW | 8315A | HPLC | MDL | 6.2 | OSW | 8315A | HPLC | MDL | 6.2 | 19.716 | 19.716 | 20 | 20
FORMIC ACID | 64-18-6 | -- |  |  |  |  | -- |  |  |  |  | 0 | 0
FOSETYL-AL | 39148-24-8 | [10 empty] | 0 | 0
FURAN | 110-00-9 | [10 empty] | 0 | 0
FURFURAL | 98-01-1 | -- |  |  |  |  | -- |  |  |  |  | 0 | 0
GLYPHOSATE | 1071-83-6 | EMSLC | 547 | HPLCFL | MDL | 6 | [5 empty] | 19.08 | 0 | 20
HEPTACHLOR | 76-44-8 | OSW | 8081A | GCECD | EQL | 0.4 | OSW | 8081A | GCECD |  |  | 0.4 | 0 | 0.4
HEPTACHLOR EPOXIDE | 1024-57-3 | OSW | 8081A | GCECD | EQL | 0.32 | OSW | 8081A | GCECD | EQL | 1.407 | 0.32 | 1.407 | 0.3 | 1.4
HEXACHLOROBENZENE | 118-74-1 |  | 612 | GCECD | MDL | 0.05 | OSW | 8270C | CGCMS | EQL | 0.66 | 0.159 | 0.66 | 0.2 | 0.66
HEXACHLOROBUTADIENE | 87-68-3 |  | 612 | GCECD | MDL | 0.34 | OSW | 8270C | CGCMS | EQL | 0.66 | 1.0812 | 0.66 | 1 | 0.66
HEXACHLOROCYCLOPENTADIENE | 77-47-4 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
HEXACHLOROETHANE | 67-72-1 |  | 524.2 |  | MDL | 0.057 | OSW | 8270C | CGCMS | EQL | 0.66 | 0.18126 | 0.66 | 0.2 | 0.66
HEXACHLOROPROPENE | 1888-71-7 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
HEXANE | 110-54-3 | ASTM | D3695 | GCFID | MDL | 1000 | -- |  |  |  |  | 3180 | 0 | 3000
HEXANONE, 2- (METHYL N-BUTYL KETONE) | 591-78-6 | OSW | 8260B | CGCMS | EQL | 1 | OSW | 8260B | CGCMS | EQL | 0.005 | 1 | 0.005 | 1 | 0.005
HEXYTHIAZOX (SAVEY) | 78587-05-0 | [10 empty] | 0 | 0
HYDRAZINE/HYDRAZINE SULFATE | 302-01-2 | [10 empty] | 0 | 0
HYDROQUINONE | 123-31-9 | [10 empty] | 0 | 0
INDENO[1,2,3-CD]PYRENE | 193-39-5 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
IODOMETHANE | 74-88-4 | OSW | 8260B | CGCMS | EQL | 1 | OSW | 8260B | CGCMS | EQL | 0.005 | 1 | 0.005 | 1 | 0.005
IPRODIONE | 36734-19-7 | [10 empty] | 0 | 0
ISOAMYL ACETATE | 123-92-2 | [10 empty] | 0 | 0
ISOBUTYL ACETATE | 110-19-0 | [10 empty] | 0 | 0
ISOBUTYL ALCOHOL | 78-83-1 | OSW | 8260B | GCMS | EQL | 5 | OSW | 8260B | GCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
ISODRIN | 465-73-6 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C |  |  |  | 20 | 0 | 20
ISOPHORONE | 78-59-1 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
ISOPHORONE DIISOCYANATE | 4098-71-9 | [10 empty] | 0 | 0
ISOSAFROLE | 120-58-1 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C |  |  |  | 10 | 0 | 10
KEPONE | 143-50-0 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
MALATHION | 121-75-5 | OSW | 8270C | CGCMS | EQL | 50 | OSW | 8141 |  |  |  | 50 | 0 | 50
MALEIC HYDRAZIDE | 123-33-1 | [10 empty] | 0 | 0
MANEB | 12427-38-2 | [10 empty] | 0 | 0
MERPHOS OXIDE | 78-48-8 | [10 empty] | 0 | 0
METHACRYLONITRILE | 126-98-7 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
METHAMIDOPHOS | 10265-92-6 | [10 empty] | 0 | 0
METHANOL | 67-56-1 | OSW | 8015B | GCFID | MDL | 21 | OSW | 8015B | GCFID | MDL | 0.46 | 66.78 | 1.4628 | 70 | 1.5
METHOMYL | 16752-77-5 | OSW | 8321A |  | MDL | 1.5 | OSW | 8321A |  | MDL | 0.015 | 4.77 | 0.0477 | 5 | 0.048
METHOXYCHLOR | 72-43-5 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
METHOXYETHANOL, 2- | 109-86-4 | [10 empty] | 0 | 0
METHYL ACETATE | 79-20-9 | [10 empty] | 0 | 0
METHYL ACRYLATE | 96-33-3 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
METHYL CHLORIDE | 74-87-3 |  | 524.2 |  | MDL | 0.13 | OSW | 8260B | CGCMS | EQL | 0.005 | 0.4134 | 0.005 | 0.4 | 0.005
METHYL ETHYL KETONE | 78-93-3 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
METHYL HYDRAZINE | 60-34-4 | [10 empty] | 0 | 0
METHYL ISOAMYL KETONE | 110-12-3 | [10 empty] | 0 | 0
METHYL ISOBUTYL KETONE | 108-10-1 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
METHYL ISOCYANATE | 624-83-9 | [10 empty] | 0 | 0
METHYL MERCAPTAN | 74-93-1 | [10 empty] | 0 | 0
METHYL METHACRYLATE | 80-62-6 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
METHYL METHANESULFONATE | 66-27-3 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
METHYL PARATHION | 298-00-0 | OSW | 8141A | CGCFPD | MDL | 0.12 | OSW | 8141A | CGCFPD | MDL | 0.06 | 0.3816 | 0.1908 | 0.4 | 0.19
METHYL STYRENE (MIXED ISOMERS) | 25013-15-4 | [10 empty] | 0 | 0
METHYL TERT-BUTYL ETHER (MTBE) | 1634-04-4 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
METHYLAMINE | 74-89-5 | [10 empty] | 0 | 0
METHYLCHLOROPHENOXYACETIC ACID (MCPA) | 94-74-9 | OSW | 8151A | GCECD | MDL | 0.056 | OSW | 8151A | GCECD | EDL | 0.043 | 0.17808 | 0.13674 | 0.2 | 0.14
METHYLENE BIS(2-CHLOROANILINE), 4,4'- | 101-14-4 | OSW | 8270C | CGCMS |  |  | OSW | 8270C | CGCMS |  |  | 0 | 0
METHYLNAPHTHALENE, 2- | 91-57-6 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
METHYLSTYRENE, ALPHA | 98-83-9 | [10 empty] | 0 | 0
MEVINPHOS | 7786-34-7 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8141A | GCFPD | MDL | 0.025 | 10 | 0.0795 | 10 | 0.08
MONOCROTOPHOS | 6923-22-4 | OSW | 8270C | CGCMS | EQL | 40 | OSW | 8270C | CGCMS |  |  | 40 | 0 | 40
NAPHTHALENE | 91-20-3 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
NAPHTHOQUINONE, 1,4- | 130-15-4 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
NAPHTHYLAMINE, 1- | 134-32-7 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
NAPHTHYLAMINE, 2- | 91-59-8 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
NAPROPAMIDE | 15299-99-7 |  | 525.2 |  | MDL | 0.06 | [5 empty] | 0.1908 | 0 | 0.2
NITROANILINE, M- | 99-09-2 | OSW | 8270C | CGCMS | EQL | 50 | OSW | 8270C | CGCMS | EQL | 3.3 | 50 | 3.3 | 50 | 3.3
NITROANILINE, O- | 88-74-4 | OSW | 8270C | CGCMS | EQL | 50 | OSW | 8270C | CGCMS | EQL | 3.3 | 50 | 3.3 | 50 | 3.3
NITROANILINE, P- | 100-01-6 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS | EQL |  | 20 | 0 | 20
NITROBENZENE | 98-95-3 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
NITROPHENOL, 2- | 88-75-5 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
NITROPHENOL, 4- | 100-02-7 | OSW | 8270C | CGCMS | EQL | 50 | OSW | 8270C | CGCMS | EQL | 3.3 | 50 | 3.3 | 50 | 3.3
NITROPROPANE, 2- | 79-46-9 | OSW | 8260B | GCMS | EQL | 5 | OSW | 8260B | GCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
NITROQUINOLINE-1-OXIDE, 4- | 56-57-5 | OSW | 8270C | CGCMS | EQL | 40 | OSW | 8270C | CGCMS |  |  | 40 | 0 | 40
NITROSODIETHYLAMINE, N- | 55-18-5 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
NITROSODIMETHYLAMINE, N- | 62-75-9 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
NITROSO-DI-N-BUTYLAMINE, N- | 924-16-3 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
NITROSODI-N-PROPYLAMINE, N- | 621-64-7 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
NITROSODIPHENYLAMINE, N- | 86-30-6 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
NITROSO-N-ETHYLUREA, N- | 759-73-9 | [10 empty] | 0 | 0
OCTYL PHTHALATE, DI-N- | 117-84-0 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
OXAMYL (VYDATE) | 23135-22-0 | OSW | 8321A |  | MDL | 0.3 | OSW | 8321A |  | MDL | 0.015 | 0.954 | 0.0477 | 1 | 0.048
PARATHION | 56-38-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCFPD |  |  | 10 | 0 | 10
PCB-1016 (AROCLOR) | 12674-11-2 | OSW | 8082 | CGCECD | MDL | 0.054 | OSW | 8082 | CGCECD | MDL | 0.057 | 0.17172 | 0.18126 | 0.2 | 0.18
PCB-1221 (AROCLOR) | 11104-28-2 | OSW | 8082 | CGCECD | MDL | 0.054 | OSW | 8082 | CGCECD | MDL | 0.057 | 0.17172 | 0.18126 | 0.2 | 0.18
PCB-1232 (AROCLOR) | 11141-16-5 | OSW | 8082 | CGCECD | MDL | 0.054 | OSW | 8082 | CGCECD | MDL | 0.057 | 0.17172 | 0.18126 | 0.2 | 0.18
PCB-1242 (AROCLOR) | 53469-21-9 | OSW | 8082 | CGCECD | MDL | 0.054 | OSW | 8082 | CGCECD | MDL | 0.057 | 0.17172 | 0.18126 | 0.2 | 0.18
PCB-1248 (AROCLOR) | 12672-29-6 | OSW | 8082 | CGCECD | MDL | 0.054 | OSW | 8082 | CGCECD | MDL | 0.057 | 0.17172 | 0.18126 | 0.2 | 0.18
PCB-1254 (AROCLOR) | 11097-69-1 | OSW | 8082 | CGCECD | MDL | 0.054 | OSW | 8082 | CGCECD | MDL | 0.057 | 0.17172 | 0.18126 | 0.2 | 0.18
PCB-1260 (AROCLOR) | 11096-82-5 | OSW | 8082 | CGCECD | MDL | 0.054 | OSW | 8082 | CGCECD | MDL | 0.057 | 0.17172 | 0.18126 | 0.2 | 0.18
PEBULATE | 1114-71-2 |  | 525.2 |  | MDL | 0.08 | [5 empty] | 0.2544 | 0 | 0.3
PENTABORANE | 19624-22-7 | [10 empty] | 0 | 0
PENTACHLOROBENZENE | 608-93-5 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
PENTACHLOROETHANE | 76-01-7 | OSW | 8260B | GCMS | EQL | 5 | OSW | 8260B | GCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
PENTACHLORONITROBENZENE | 82-68-8 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
PENTACHLOROPHENOL | 87-86-5 |  | 525.2 |  | MDL | 0.034 | OSW | 8270C | CGCMS | EQL | 3.3 | 0.10812 | 3.3 | 0.1 | 3.3
PERCHLOROMETHYL MERCAPTAN | 594-42-3 | [10 empty] | 0 | 0
PHENACETIN | 62-44-2 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
PHENANTHRENE | 85-01-8 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
PHENOL | 108-95-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
PHENYL MERCAPTAN | 108-98-5 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
PHENYLENEDIAMINE, M- | 108-45-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
PHENYLPHENOL, 2- | 90-43-7 | [10 empty] | 0 | 0
PHORATE | 298-02-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8141A | CGFPD | EQL | 0.02 | 10 | 0.02 | 10 | 0.02
PHTHALIC ANHYDRIDE | 85-44-9 | OSW | 8270C | CGCMS | EQL | 100 | OSW | 8270C | CGCMS |  |  | 100 | 0 | 100
PICLORAM | 1918-02-1 | OSW | 8151A |  | MDL | 0.14 | OSW | 8151A |  |  |  | 0.4452 | 0 | 0.4
PICOLINE, 2- | 109-06-8 | OSW | 8270C | CGCMS |  |  | OSW | 8270C | CGCMS |  |  | 0 | 0
POLYCHLORINATED BIPHENYLS (AROCLORS) (PCBS) | 1336-36-3 |  | 8082 |  |  |  |  | 8082 |  |  |  | 0 | 0
PRONAMIDE | 23950-58-5 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
PROPANIL | 709-98-8 | [10 empty] | 0 | 0
PROPANOL, 1- | 71-23-8 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
PROPANOL, 2- (ISOPROPYL ALCOHOL) | 67-63-0 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
PROPHAM | 122-42-9 |  | 8321A |  | MDL | 0.4 |  | 8321A |  | MDL | 0.012 | 1.272 | 0.03816 | 1 | 0.038
PROPIOLACTONE, BETA | 57-57-8 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
PROPIONIC ACID | 79-09-4 | [10 empty] | 0 | 0
PROPIONITRILE (ETHYL CYANIDE) | 107-12-0 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
PROPYLBENZENE, N- | 103-65-1 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
PROPYLENE IMINE | 75-55-8 | [10 empty] | 0 | 0
PROPYLENE OXIDE | 75-56-9 | ASTM | D3695 | GCFID | MDL | 1000 | [5 empty] | 3180 | 0 | 3000
PYRENE | 129-00-0 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
PYRETHRUM | 8003-34-7 | [10 empty] | 0 | 0
PYRIDINE | 110-86-1 | OSW | 8270C | CGCMS |  |  | OSW | 8270C | CGCMS |  |  | 0 | 0
QUINOLINE | 91-22-5 | [10 empty] | 0 | 0
QUINONE (p-BENZOQUINONE) | 106-51-4 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
QUIZALOFOP (ASSURE) | 76578-14-8 | [10 empty] | 0 | 0
RESORCINOL | 108-46-3 | OSW | 8270C | CGCMS | EQL | 100 | OSW | 8270C | CGCMS |  |  | 100 | 0 | 100
RONNEL | 299-84-3 | OSW | 8141A | GCFPD | EQL | 0.7 | OSW | 8141A | GCFPD | EQL | 0.035 | 0.7 | 0.035 | 0.7 | 0.035
SIMAZINE | 122-34-9 | EMSLC | 525.2 |  | MDL | 0.045 | OSW | 8141 | CGCFPD |  |  | 0.1431 | 0 | 0.1
STRYCHNINE | 57-24-9 | OSW | 8270C | CGCMS | EQL | 40 | OSW | 8270C | CGCMS |  |  | 40 | 0 | 40
STYRENE | 100-42-5 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
SULFIDE | 18496-25-8 | [10 empty] | 0 | 0
SULFUR MONOCHLORIDE | 10025-67-9 | [10 empty] | 0 | 0
TEBUTHIURON | 34014-18-1 |  | 8321A |  | MDL | 0.5 |  | 8321A |  | MDL | 0.021 | 1.59 | 0.06678 | 2 | 0.067
TEPP | 107-49-3 | OSW | 8141A | GCFPD | EQL | 8 | OSW | 8141A | GCFPD | EQL | 0.4 | 8 | 0.4 | 8 | 0.4
TERBACIL | 5902-51-2 |  | 525.2 | CGCMS | MDL | 0.22 | [5 empty] | 0.6996 | 0 | 0.7
TERBUFOS | 13071-79-9 | EMSLC | 525.2 | CGCMS | MDL | 0.096 | OSW | 8270C | CGCMS |  |  | 0.30528 | 0 | 0.3
TETRACHLOROBENZENE, 1,2,4,5- | 95-94-3 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
TETRACHLORODIBENZO-P-DIOXIN, 2,3,7,8- (TCDD Equivalents)) | 1746-01-6 | OSW | 8280A | CGCMS | EQL | 0.01 | OSW | 8280A | CGCMS | EQL | 0.001 | 0.01 | 0.001 | 0.01 | 0.001
TETRACHLOROETHANE, 1,1,1,2- | 630-20-6 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
TETRACHLOROETHANE, 1,1,2,2- | 79-34-5 |  | 524.2 |  | MDL | 0.04 | OSW | 8260B | CGCMS | EQL | 0.005 | 0.1272 | 0.005 | 0.1 | 0.005
TETRACHLOROETHYLENE (PCE) | 127-18-4 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
TETRACHLOROPHENOL, 2,3,4,6- | 58-90-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
TETRAETHYL LEAD | 78-00-2 | [10 empty] | 0 | 0
TETRAETHYLDITHIOPYROPHOSPHATE | 3689-24-5 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
TETRAHYDROFURAN | 109-99-9 | [10 empty] | 0 | 0
TETRANITROMETHANE | 509-14-8 | [10 empty] | 0 | 0
THIOFANOX | 39196-18-4 |  | 8321A |  |  |  |  | 8321A |  |  |  | 0 | 0
THIONAZIN | 297-97-2 | OSW | 8270C | CGCMS | EQL | 20 | OSW | 8270C | CGCMS |  |  | 20 | 0 | 20
THIRAM | 137-26-8 | [10 empty] | 0 | 0
TOLUENE | 108-88-3 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
TOLUIDINE, M- | 108-44-1 | [10 empty] | 0 | 0
TOLUIDINE, O | 95-53-4 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS |  |  | 10 | 0 | 10
TOLUIDINE, P- | 106-49-0 | [10 empty] | 0 | 0
TOXAPHENE | 8001-35-2 | OSW | 8081A | CGCMS | EQL | 0.81 | OSW | 8081A | CGCMS |  |  | 0.81 | 0 | 0.8
TRIALLATE | 2303-17-5 | [10 empty] | 0 | 0
TRIBROMOMETHANE (BROMOFORM) | 75-25-2 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
TRICHLORO-1,2,2-TRIFLUOROETHANE, 1,1,2- | 76-13-1 | [10 empty] | 0 | 0
TRICHLOROBENZENE, 1,2,4- | 120-82-1 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
TRICHLOROBENZENE, 1,3,5- | 180-70-3 | OSW | 8121 |  | EQL | 120 | OSW | 8121 |  | EQL | 8040 | 120 | 8040 | 100 | 8000
TRICHLOROETHANE, 1,1,1- | 71-55-6 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
TRICHLOROETHANE, 1,1,2- | 79-00-5 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
TRICHLOROETHYLENE (TCE) | 79-01-6 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
TRICHLOROPHENOL, 2,4,5- | 95-95-4 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
TRICHLOROPHENOL, 2,4,6- | 88-06-2 | OSW | 8270C | CGCMS | EQL | 10 | OSW | 8270C | CGCMS | EQL | 0.66 | 10 | 0.66 | 10 | 0.66
TRICHLOROPHENOXYACETIC ACID, 2,4,5- (2,4,5-T) | 93-76-5 | OSW | 8151A | GCECD | EDL | 0.08 | OSW | 8151A | GCMS |  |  | 0.2544 | 0 | 0.3
TRICHLOROPHENOXYPROPIONIC ACID, 2,4,5- (2,4,5-TP) | 93-72-1 | OSW | 8151A | GCECD | EDL | 0.08 | OSW | 8151A | GCMS | EQL | 0.00028 | 0.2544 | 0.00028 | 0.3 | 0.00028
TRICHLOROPROPANE, 1,1,2- | 598-77-6 | [10 empty] | 0 | 0
TRICHLOROPROPANE, 1,2,3- | 96-18-4 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
TRICHLOROPROPENE, 1,2,3- | 96-19-5 | [10 empty] | 0 | 0
TRIETHYLAMINE | 121-44-8 | [10 empty] | 0 | 0
TRIETHYLPHOSPHOROTHIOATE, O,O,O- | 126-68-1 | OSW | 8270C | CGCMS |  |  | OSW | 8270C | CGCMS |  |  | 0 | 0
TRIFLURALIN | 1582-09-8 |  | 525.2 |  | MDL | 0.048 | OSW | 8270C | CGCMS |  |  | 0.15264 | 0 | 0.2
TRIMETHYLBENZENE, 1,3,4- (TRIMETHYLBENZENE, 1,2,4-) | 95-63-6 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
TRIMETHYLBENZENE, 1,3,5- | 108-67-8 |  | 524.2 |  | MDL | 0.05 | [5 empty] | 0.159 | 0 | 0.2
TRINITROGLYCEROL (NITROGLYCERIN) | 55-63-0 | [10 empty] | 0 | 0
TRINITROTOLUENE, 2,4,6- | 118-96-7 | [10 empty] | 0 | 0
VINYL ACETATE | 108-05-4 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
VINYL BROMIDE (BROMOETHENE) | 593-60-2 | [10 empty] | 0 | 0
VINYL CHLORIDE | 75-01-4 |  | 524.2 |  | MDL | 0.17 | OSW | 8260B | CGCMS | EQL | 0.005 | 0.5406 | 0.005 | 0.5 | 0.005
WARFARIN | 81-81-2 | [10 empty] | 0 | 0
XYLENES (TOTAL) | 1330-20-7 | OSW | 8260B | CGCMS | EQL | 5 | OSW | 8260B | CGCMS | EQL | 0.005 | 5 | 0.005 | 5 | 0.005
ZINEB | 12122-67-7 | [10 empty] | 0 | 0