Lead and Copper

A Working Guide to the Lead and

Copper Rule

MAY 2017 DRAFT

PREFACE

GUIDE DESCRIPTION

A Working Guide to the Lead and Copper Rule is a comprehensive guide designed to provide necessary, useful information to public water suppliers concerning the Lead and Copper Rule.  The guide summarizes some regulatory requirements and elaborates or paraphrases others.  Refer to 25 Pa. Code Chapter 109, Subchapter K: Regulation of Lead and Copper for precise regulatory language.

The following is a brief synopsis of the sections found in this guide:

Section 1 - Summary

Offers an overview of the regulatory requirements and the rationale for 	control of lead and copper in drinking water.

Section 2 – Planning and Initial Monitoring

Details the LCR planning requirements, including the materials evaluation and sample site location plan, and the initial monitoring requirements for lead and copper and WQPs.

Section 3 - Special Monitoring

Discusses special monitoring as an option for small and medium systems 	following initial monitoring and prior to initiation of construction or 	modification of corrosion control treatment facilities.

Section 4 - Public Education

Explains the lead consumer tap notice and public education requirements related to a lead action level exceedance.

Section 5 - CCT Compliance Schedule 						Outlines the compliance schedule including a time table for installation of 	corrosion control treatment as well as feasibility study and permit 	requirements.

Section 6 - Follow-up Monitoring

Describes the requirements for follow-up monitoring conducted after 	completion of construction or modification of corrosion control treatment 	facilities.

Section 7 - Lead Service Line (LSL) Replacement

Details the requirements for LSL replacement for systems continuing to 	exceed the lead action level following installation of corrosion control 	treatment.

Section 8 - OCCT Performance Requirements

Explains the water quality performance requirements for systems installing corrosion control treatment.  Systems are required to operate this treatment within specified performance standards that are approved and designated by the department.  Includes the requirements for systems conducting monitoring following performance requirements.

Section 9 - Reduced Monitoring

Outlines the requirements for reduced monitoring for lead and copper and 	water quality parameters.

Section 10 - Public Notification

Describes the public notification requirements triggered by violations of 	the Lead and Copper Rule.

Section 11 - System Management Responsibilities

Explains the system management responsibilities for reporting and 	recordkeeping, an operation and maintenance plan, and operator 	certification and training.

The small and medium water systems flow chart (page iv) serves as a roadmap for this guide.  The first page of each section contains a flow chart highlighted to indicate the section topic.  The large water systems flow chart (page v) is provided in the preface and serves as a reference tool for large systems. The large system chart includes the same section numbers as those found in the small and medium water systems flow chart.

RESOURCES

USEPA.  Drinking Water Regulations: Maximum Contaminant Level Goals 	and National Primary Drinking Water Regulations for Lead and Copper, 	40 CFR Parts 141 and 142.

USEPA.  1992.  Lead and Copper Rule Guidance Manual, Volume 1: 	Monitoring, and Volume 2: Corrosion Control Treatment.

USEPA.  Lead in Drinking Water Regulation:  Public Education Guidance.

USEPA.  Lead and Copper Rule:  Summary of Revisions (EPA 815-R-99-020, April 2000)

USEPA. How to Determine Compliance with Optimal Water Quality Parameters as Revised by Lead and Copper Rule Minor Revisions (EPA 815-R-99-019, Feb 2001)

USEPA. Monitoring Waivers under the Lead and Copper Rule Minor Revisions for Systems Serving 3,300 or Fewer People (EPA 815-R-99-021, April 2000)

DEP.  25 PA Code Chapter 109, Subchapter K: Regulation of Lead and 	Copper.

DEP.  Corrosion Control Treatment Basic Feasibility Study.

USEPA resource materials may be obtained by contacting the Safe Drinking Water Hotline at (800) 426-4791.  DEP materials may be obtained by contacting the local or regional DEP office.

SMALL AND MEDIUM WATER SYSTEMS

*Section			 Number

LARGE WATER SYSTEMS

*Section			 Number

TABLE OF CONTENTS

| 1 | Summary: Overview of the Lead and Copper Rule Health Effects | 1 1 3 |
| --- | --- | --- |

| 2 | Planning and Initial Monitoring: Materials Evaluation Sample Site Location Plan Lead/Copper Tap Monitoring Lead/Copper Source Monitoring WQP Monitoring Water Sample Collection Protocol Analytical Methods | 5 5 9 10 11 12 14 16 |
| --- | --- | --- |

| 3 | Special Monitoring | 19 |
| --- | --- | --- |

| 4 | Public Education: Consumer Tap Notice Content Delivery Discontinuation Notification of Customer Monitoring | 21 21 22 24 28 29 |
| --- | --- | --- |

| 5 | CCT Compliance Schedule: OCCT Large System Schedule Small and Medium System Schedule CCT Feasibility Study Requirements Permit Requirements | 31 31 33 34 35 36 |
| --- | --- | --- |

| 6 | Follow-up Monitoring | 40 |
| --- | --- | --- |

| 7 | Lead Service Line Replacement: Reporting Requirements | 43 44 |
| --- | --- | --- |

| 8 | OCCT Performance Requirements: Water System Request WQP Performance Requirements Source Water Treatment Performance Requirements Monitoring After Performance Requirements Established Determining Compliance with Performance Requirements | 47 47 47 48 48 49 |
| --- | --- | --- |

| 9 | Reduced Monitoring: Lead/Copper Tap Monitoring Reduced Lead/Copper Monitoring Revocation WQP Monitoring Reduced WQP Monitoring Revocation | 52 52 56 57 58 |
| --- | --- | --- |

| 10 | Public Notification | 60 |
| --- | --- | --- |

| 11 | System Management Responsibilities: Reporting and Recordkeeping Operation and Maintenance Plan Operator Certification and Training | 61 61 62 63 |
| --- | --- | --- |

# SUMMARY

Overview of the Lead and Copper Rule

On June 7, 1991, the U.S. Environmental Protection Agency (EPA) issued its final Lead and Copper Rule (LCR).  On January 12, 2000, EPA made several revisions to the LCR to improve implementation.  Promulgation of the state’s Lead and Copper Rule was necessary to comply with the provisions of the Pennsylvania Safe Drinking Water Act.  State regulations at least as stringent as the federal rule were necessary for Pennsylvania to maintain primary enforcement responsibility (primacy) under the federal Safe Drinking Water Act.

The state’s Lead and Copper Rule became effective December 24, 1994. The minor revisions to this rule became effective August 10, 2002 and the short-term revisions became effective on December 10, 2010.  This rule applies to all community and nontransient noncommunity water systems and classifies systems based on the population they serve.

| SYSTEM | POPULATION |
| --- | --- |
| Large | >50,000 |
| Medium | 3,301 to 50,000 |
| Small | <3,301 |

The primary objective of this rule is to control lead and copper levels in public drinking water systems through a treatment technique for corrosion control.

The rule establishes a lead action level of 0.015 mg/L and a copper action level of 1.3 mg/L.  An action level is not an MCL.  It represents a level at which the system must take additional action under its control to reduce lead or copper levels and inform consumers about the actions they can take to lower exposure to lead in drinking water.

| CONTAMINANT | ACTION LEVEL (mg/L)* |
| --- | --- |
| Lead | 0.015 |
| Copper | 1.3 |
| *Measured in 90th percentile at taps |

The rule establishes a treatment technique that includes requirements for:

## Corrosion control treatment (CCT),

## Lead service line (LSL) replacement, and

## Public education (PE).

Treatment technique requirements are triggered by exceedances of an action level as measured in the 90th percentile at the consumers’ taps.  An action level is exceeded when the concentration of the contaminant in more than 10 percent of tap water samples is greater than the action level.

The comprehensive monitoring requirements of this rule will identify the contributions of different sources of lead and copper corrosion by-products to drinking water and will enable a water system to determine the lead and copper concentrations to which its customers may be exposed.

Systems exceeding either the lead or copper action level are required to install optimal corrosion control treatment (OCCT), source water treatment or both.  OCCT is defined as follows:

OCCT minimizes the lead and copper concentrations at users’ taps while 	ensuring that the treatment does not cause the system to violate any 	primary maximum contaminant level.

A system may achieve OCCT in one of the following ways:

1.  Small and medium systems can achieve OCCT by not exceeding 	either action level for lead and copper tap monitoring during two 	consecutive six-month monitoring periods.

2.   Any system can achieve OCCT if, during two consecutive six-month

monitoring periods, its lead and copper tap monitoring results do not 	exceed the action levels at the 90th percentile and the difference between 	the 90th percentile lead level and the highest source water lead 	concentration is less than 0.005 mg/L.

3.  Any system can achieve OCCT when the system installs new CCT facilities or modifies existing treatment and operates in compliance 	with the WQP performance standards specified for that system by the department.

After treatment, if lead levels are still too high, systems are required to replace LSLs.  Systems that exceed the lead action level are required to implement a PE program about the effects of lead in drinking water.

HEALTH EFFECTS AND SOURCES OF LEAD AND COPPER

The severity of lead contamination depends on the amount of lead in the distribution system and home plumbing and on the corrosiveness of the water.  The highest lead levels occur in the first-draw tap water after several hours of water stagnation in pipes and plumbing materials.  Nearly all public water systems in Pennsylvania contain some type of leaded plumbing materials either in the distribution system or in homes or other buildings.  An EPA study conducted in the mid-1980s indicated that 85 percent of Pennsylvania’s community water systems have corrosive water, with the water in 35 percent of the systems being highly corrosive.  The EPA estimates that lead in drinking water contributes between 10 to 20 percent of total lead exposure in young children.

| Contaminant | Health Effects | Lead and Copper Contamination Sources |
| --- | --- | --- |
| Lead | Children: Altered physical and mental development; interference with growth; deficits in IQ, attention span, and hearing; interference with heme synthesis. Women: Increased blood pressure; shorter gestational period; kidney damage. Men: Increased blood pressure; kidney damage. | Corrosion of: Lead solder and brass fixtures. Lead service lines (20% of public water systems.) Source Water: of public water systems.) |
| Copper | Stomach and intestinal distress in persons with Wilson’s disease. | Corrosion of: Interior household and building pipes. |

SECTION 2

*Section			 Number

PLANNING AND INITIAL MONITORING

MATERIALS EVALUATION

All community and nontransient noncommunity water systems shall review all records documenting the materials used to construct and repair their distribution system piping.  Additionally, systems should review the interior plumbing materials used within residences and buildings connected to their distribution system.  Sources of information include:

- Plumbing codes, permits and records in the files of the building departments of each municipality served by the system;

- Water system records including:

- Distribution maps and drawings;

  - Inspection and maintenance records;

  - Meter installation records;

  - Standard operating procedures;

  - Operation and maintenance manuals;

  - Permit files;

  - Existing water quality data;

- Interviews with senior personnel, building inspectors, and retirees; and

- Community survey.

DEP has created “Instruction Packet for Lead and Copper Tap Sample Site Location Plan” (3900-FM-BSDW0549) that contains the worksheets and templates to complete the materials evaluation and sample site location plan.

Here’s the link to the LCR Web page that features this packet:

www.dep.pa.gov/lead_copper_rule

LEAD AND COPPER TAP SAMPLE SITE SELECTION

The Lead and Copper Rule requires all community and nontransient noncommunity water systems to collect tap water samples to determine lead and copper levels to which customers may be exposed.  Tap water samples must be collected from sampling locations that meet the following criteria.

COMMUNITY WATER SYSTEMS

For community water systems, lead and copper tap water samples must be collected from sampling locations that meet one of the following criteria:

Tier 1. Single family structures that: • contain lead pipes; or • are served by lead service lines; or • contain copper pipes with lead solder that were installed after 1982. Tier 2. Buildings and multiple-family residences that: • contain lead pipes; or • are served by lead service lines; or • contain copper pipes with lead solder that were installed after 1982. Tier 3. Structures that were constructed as a single-family residence and currently used as either a residence or business, that: • contain copper pipes with lead solder installed before 1983.

Lead and Copper Tap Sample Pool Criteria

- Community water systems should identify more sampling sites than the required number during each monitoring period in case volunteers drop out of the sampling pool.  Community water systems shall select Tier 1 sample site locations.  If the initial materials evaluation did not include the entire distribution system, the water system may need to do additional research to maintain a sufficient pool of Tier 1 location.

- Water systems are not required to target structures with lead solder installed after January 6, 1991; which is the effective date of the Pennsylvania Plumbing System Lead Ban and Notification Act.

- If a water system contains lead service lines, 50 percent of the sampling sites included in the sampling pool should be served by a lead service line.  When enough lead service line sites do not exist, a water system must collect a tap water sample from each site served by a lead service line.

- If a water system has no lead service lines, but it does have lead goosenecks or pigtails, the system should collect tap water samples at the sites with the goosenecks and/or pigtails.

- When enough tier 1 sites do not exist, the water system must complete its sampling pool with tier 2 sites.

- When enough tier 1 and 2 sites do not exist, the water system must complete its sampling pool with tier 3 sites.

- The use of non-tier 1 sites should be well documented and justified.  An incomplete materials evaluation is not a sufficient justification.

- When enough tier 1, 2 and 3 sites do not exist, the water system shall sample from other representative sites throughout the distribution system in which the plumbing materials used at the site would be commonly found at other sites served by the system.  The use of “other” sample sites should be well documented and justified.

- If a community water system operates 24 hours a day (such as a prison or nursing home) and does not have enough taps that supply first-draw lead and copper samples, the water supplier may apply to DEP, in writing, to substitute non-first draw samples with samples from drinking water taps that would likely result in the longest standing time.  In the request, the supplier needs to identify sampling times and locations of those non-first draw sites.

NOTE:  Suppliers shall collect as many first-draw samples from appropriate taps as possible before supplementing with non-first draw sites.

- Community water systems that contain a fewer number of buildings than the required number of sampling sites, may sample from different taps within a representative number of buildings.

NOTE:  Samples shall be taken on different days from taps most commonly used to provide drinking water.

- If a water supplier collects additional lead and copper tap samples, these sites must be the highest tier sites possible.  The supplier cannot dilute the 90th percentile value with lower tier sample sites.

- If multiple-family residences comprise at least 20 percent of the structures served by a water system, the system may consider a representative number of these structures as tier 1 sites in its sampling pool.

- If a water system contains only plastic plumbing, but the faucets and fittings contain lead, the system should collect tap samples at single family structures with such faucets and fittings.

- Samples may not be taken from taps that have point-of-use or point-of-entry treatment devices designed to remove inorganic contaminants.

NONTRANSIENT NONCOMMUNITY WATER SYSTEMS

For nontransient noncommunity water systems, lead and copper tap water samples must be collected from sampling locations that meet the following criteria:

Tier 1. Buildings that: • contain lead pipes; or • are served by lead service lines; or • contain copper pipes with lead solder that were installed after 1982. Non-Tier: Other. Sites that: • contain copper pipes with lead solder installed before 1983. Additional. Sites that: • contain plumbing materials that are commonly found at other locations within the system.

- Sampling pools shall consist of tier 1 sites.

- A system that has an insufficient number of tier 1 sampling sites shall complete its sampling pool with sampling sites that contain copper pipes with lead solder installed before 1983.

- If additional sites are needed, the system shall use representative sites throughout the distribution system in which the plumbing materials used at the site would be commonly found at other sites served by the system.

- Nontransient noncommunity water systems are not required to target buildings with lead solder installed after January 6, 1991; effective date of the Pennsylvania Plumbing System Lead Ban and Notification Act.

- If the water system contains fewer buildings than the required number of sampling sites, samples may be collected from different taps within a representative number of buildings.  The taps should be those most commonly used for drinking and the samples should be taken on different days.  If the system has an insufficient number of these taps to take each sample from a different tap, the system may sample from the same tap on different days.

- If a nontransient noncommunity water system operates 24 hours a day (such as a hospital or factory) and does not have enough taps that supply first-draw lead and copper samples, the water supplier may apply to DEP, in writing, to substitute non-first draw samples with samples from drinking water taps that would likely result in the longest standing time.  In the request, the supplier needs to identify sampling times and locations of those non-first draw sites.

NOTE:  Suppliers shall collect as many first-draw samples from appropriate taps as possible before supplementing with non-first draw sites.

- If the water system contains only plastic plumbing, but the faucets and fittings contain lead, the system should collect tap samples at taps with such faucets and fittings.

- Samples may not be taken from taps that have point-of-use or point-of-entry treatment devices designed to remove inorganic contaminants.  When water softeners are installed as central treatment, lead and copper tap samples should be taken after treatment.

SAMPLE SITE LOCATION PLAN

All community and nontransient noncommunity water systems shall complete a sample site location plan (SSLP) prior to initiation of lead and copper sample collection.  The plan shall include:

- Materials evaluation of distribution system,

- Lead and copper tap sample site locations,

- Water quality parameter sample site locations, and

- Certification that proper sampling procedures are used.

Systems shall submit a copy to the local DEP district office prior to conducting initial monitoring and shall keep the sample site location plan on file.  If the system is required to prepare a corrosion control treatment feasibility study, the system shall include the plan as part of the study.

Water suppliers are responsible for updating their plan within the first 10 days following the end of each applicable monitoring period as follows:

- Identify lead and copper tap sample sites that are different from sites sampled during previous monitoring periods.

- Identify any changes to water quality parameter sample sites from sites sampled during previous monitoring periods.

- Update the sample procedure certification.

DEP has created “Instruction Packet for Lead and Copper Tap Sample Site Location Plan” (3900-FM-BSDW0549) that contains the worksheets and templates to complete the materials evaluation and sample site location plan.

                - Here’s the link to the LCR Web page that features this packet:

www.dep.pa.gov/lead_copper_rule

INITIAL LEAD AND COPPER TAP MONITORING

Initial lead and copper tap monitoring for community and nontransient noncommunity water systems consists of two consecutive six-month periods.  Monitoring periods begin in January and July and end in June and December.

The first six-month monitoring period for any new water system created after December 24, 1994 shall begin with the next six-month monitoring period following the issuance of an operations permit or following the system’s provision of water to enough sampling sites for the water supplier to comply with sample site requirements, whichever period is later.

Large water systems shall monitor during two consecutive six-month periods and shall comply with the corrosion control treatment (CCT) compliance schedule (Section 5).

Small or medium water systems shall monitor during each six-month monitoring period until one of the following occurs:

1.  The system exceeds either the lead or copper action level and is

therefore, required to comply with the CCT compliance schedule

(Section 5) and may choose to begin special monitoring.

2.  The system meets both the lead and copper action levels during two 	 	     consecutive six-month monitoring periods, in which case the system

qualifies for reduced monitoring (Section 9).

All public water systems are required to collect one sample for lead and copper analysis from the following number of sites during each six-month monitoring period.

| SYSTEM SIZE (POPULATION) | NUMBER OF LEAD AND COPPER TAP SAMPLING SITES |
| --- | --- |
| >100,000 10,001 to 100,000 3,301 to 10,000 501 to 3,300 101 to 500 (100 | 100 60 40 20 10 5 |

INITIAL LEAD AND COPPER SOURCE WATER MONITORING

A system which exceeds either the lead or copper action levels shall collect one source water sample from each entry point within six months of the end of the monitoring period in which the action level was exceeded.  Monitoring is required only for the parameter for which the action level was exceeded.

INITIAL WATER QUALITY PARAMETER MONITORING

In addition to lead and copper, all large water systems and those small and medium-size systems that exceed the lead or copper action level, will be required to monitor for the following water quality parameters (WQPs):

- pH;

- Alkalinity;

- Calcium;

- Conductivity;

- Water temperature; and

- Orthophosphate, when an inhibitor containing a phosphate compound is used; or

- Silica, when an inhibitor containing a silicate compound is used.

These parameters are used to identify optimal treatment and, once treatment is installed, to determine whether a system remains in compliance with the rule.  Systems shall monitor WQPs at two separate locations:

- Representative taps throughout the distribution system, and

- Entry points to the distribution system.

A system shall collect two sets of WQP distribution samples from the following number of sample sites.  The sample sites shall be representative of water quality throughout the distribution system considering the different sources of water, the different treatment methods, and seasonal variability.  The sets of samples shall be collected from the same sample sites on different days and analyzed for the applicable WQPs.

| SYSTEM SIZE (POPULATION) | NUMBER OF WQP DISTRIBUTION SAMPLING SITES |
| --- | --- |
| >100,000 10,001 to 100,000 3,301 to 10,000 501 to 3,300 101 to 500 (100 | 25 10 3 2 1 1 |

A system shall also collect two sets of WQP samples at each entry point.  The sets of samples shall be collected on different days and analyzed for the applicable WQPs.

WATER SAMPLE COLLECTION PROTOCOL

LEAD AND COPPER TAP SAMPLES

- 1 liter sample size;

- First-draw after six hour standing time.  Do not intentionally flush the water line before the start of the six-hour period;

- Cold water kitchen or bathroom tap OR interior tap used for consumption. Do not remove the aerator prior to sampling, open the cold water tap as you would do to fill a glass of water;

- Collected by the water supplier or residents (residents must be instructed of proper sampling procedures);

- If residents perform sampling, the supplier may not challenge the accuracy of sampling results, based on alleged errors in sample collection;

- Samples can be acidified up to 14 days after the sample is collected.  After acidification, the sample shall stand in the original container for the time specified per the approved EPA method before analyzing the sample;

- For subsequent monitoring, the system shall make reasonable effort to collect each first-draw tap sample from the same sampling site from which it collected a previous sample.  If the supplier is unable to use an original sampling site, the supplier may collect the tap sample from another sampling site in its sampling pool if the new site meets same targeting criteria, and is within reasonable proximity to original site; and

- Collect early in monitoring period to allow time for collection of water quality parameter samples during same period if necessary.

The department will only consider lead and copper sample results analyzed by a certified laboratory.

WATER QUALITY PARAMETER SAMPLES

- Remove faucet aerator and fully flush the line;

- If collecting water quality parameter samples from the same location as coliform and disinfectant residual samples, collect coliform samples first; then measure disinfectant residual, temperature and pH; and finally collect samples for other water quality parameters;

- Collect samples in two 500 ml plastic or glass containers (plastic container must be used for silica);

- Measure temperature in the field;

- Measure pH in the field within 15 minutes of sample collection with a calibrated meter capable of measuring to 1/10 of a unit;

- Avoid agitating the water sample;

- Record observations about color, suspended solids, and flushing time required prior to sample collection;

- Store samples in a cool environment until analyzed;

- The two sets of water quality parameter samples should be collected at different times in the monitoring period to ensure data is representative of seasonal changes.

Measurements for water quality parameters may be performed by a certified laboratory or by a person meeting the operator certification requirements.  Proper analytical methods shall be used.

###### ANALYTICAL METHODS AND LABORATORY CERTIFICATION

EPA-approved analytical methods are designated in the rule and are as follows:

| CONTAMINANT | METHODOLOGY | EPA | ASTM1 | SM2 | OTHER |
| --- | --- | --- | --- | --- | --- |
| Lead Copper pH Conductivity Calcium Alkalinity Ortho-phosphate, unfiltered, no digestion or hydrolysis Silica Temperature | Atomic absorption; furnace ICP-Mass Spectrometry Atomic absorption; platform Differential pulse anodic stripping voltammetry Atomic absorption; furnace Atomic absorption; direct aspiration ICP ICP-Mass spectrometry Atomic absorption; platform Electrometric Conductance EDTA titrimetric Atomic absorption; direct aspiration Inductively coupled plasma Titrimetric Electrometric titration Colorimetric, automated, ascorbic acid Colorimetric, ascorbic acid, single reagent Colorimetric, phosphomolybdate Colorimetric, automated-segment flow Colorimetric, automated discrete Ion chromatography Colorimetric Colorimetric: molybdate blue Colorimetric: automated-seg. flow Molybdosilicate Heteropoly blue Automated method for molybdate-reactive silica Inductively coupled plasma Thermometric | 200.83 200.93 200.73 200.83 200.93 150.15 150.25 200.73 365.14 300.04 200.73 | D3559-95D D1688-95C D1688-95A D1293-95 D1125-91A D511-93A D511-93B D1067-92B D515-88A D4327-91 D859-88 | 3113B 3113B 3111B 3120B 4500-H+-B 2510B 3500-Ca-D 3111B 3120B 2320B 4500-P-F 4500-P-E 4110 B 4500-Si-D 4500-Si-E 4500-Si-F 3120B 2550B | 10016 I-1030-857 I-1602-857 I-2601-907 I-2598-857 I-1700-85 I-2700-85 |

Notes:

1Annual Book of ASTM Standards, Vols. 11.01 and 11.02, American

Society for Testing and Materials, 1916 Race Street, Philadelphia, PA

19103.

218th edition of Standard Methods for the Examination of Water and

Wastewater, 1992, American Public Health Association, 1015 Fifteenth

Street NW, Washington, D.C. 20005.

3”Methods for the Determination of Metals in Environmental Samples -

Supplement I,” EPA-600/R-94/111, May 1994.

4”Methods for the Determination of Inorganic Substances in

Environmental Samples,” EPA-600/R-93/100, August 1993.

5Methods 150.1 and 150.2 are available from USEPA, EMSL-Cincinnati,

OH 45268.  The identical methods are also in “Methods for Chemical

Analysis of Water and Wastes,” EPA-600/4-79/020, March 1983.

6The description for Method Number 1001 for lead is available from Palintest, LTD, 21 Kenton Lands Road, P.O. Box 18395, Erlanger, KY  41018 or from the Hach Company, P.O. Box 389, Loveland, CO 80538

7Method I-2601-90, Methods for Analysis by the U.S. Geological Survey National Water Quality Laboratory Determination of Inorganic and Organic Constituents in Water and Fluvial Sediments, Open File Report 93-125, 1993: For Methods I-1030-85; I-1601-85; I-1700-85; I-2598-85; I-2700-85; and I-3300-85 See Techniques of Water Resources Investigation of the U.S. Geological Survey, Book 5, Chapter A-1, 3rd ed., 1989; Available from Information Services, U.S. Geological Survey, Federal Center, Box 25286, Denver, CO  80225-0425.

The practical quantitation limit (PQL) is set at 0.005 mg/L for lead and 0.050 mg/L for copper.  Laboratory certification criteria are ( 10 % at >0.050 mg/L for copper and ( 30 % at >0.005 mg/L for lead.

Laboratories are not required to be certified to test for pH, water temperature, calcium, orthophosphate, silica, alkalinity, or conductivity.

SECTION 3

*Section			 Number

SPECIAL MONITORING

After completing initial monitoring and prior to initiation of construction or modification of corrosion control treatment facilities, a small or medium system may collect special lead and copper tap samples at its option.

NOTE:  Special monitoring must begin the next 6-month monitoring period, not during the same monitoring period in which the action level is exceeded.  For systems on an annual or triennial monitoring frequency, the next 6-month monitoring period begins in January of the next calendar year.

Special lead and copper tap monitoring includes sampling at the same number of sites as initial lead and copper tap monitoring.

If a medium or small water system meets the lead and copper action levels during two consecutive six-month special monitoring periods, the system is deemed to have optimized corrosion control and may discontinue the compliance activities and proceed directly to reduced monitoring (Section 9).  If a system meets the lead action level during a special monitoring period, the system may discontinue public education.

If a medium or small water system exceeds an action level during any monitoring period after discontinuing compliance activities, the system must resume completion of the applicable compliance activities.  The department may require a system to repeat compliance activities previously completed or undertake additional activities where the department determines that such action is necessary to properly comply with corrosion control treatment requirements.

SECTION 4

*Section			 Number

CONSUMER TAP NOTICE

As a result of the short-term revisions that became effective on December 18, 2010, within 30 days of learning the results, all systems must deliver a consumer tap notice of the lead tap water results (regardless of the 90th percentile result) to persons served by the water at sites that are sampled under §109.1103.  The consumer tap notice shall be delivered by mail or another method approved by DEP.  The water system shall provide notice to consumers who do not receive water bills.

The consumer tap notice must include:

- Results of lead tap water monitoring for the tap that was sampled.

- Lead health effects language.

- List of steps consumers can take to reduce exposure to lead in drinking water.

- Water system contact information.

- Action Level and Maximum Contaminant Level Goal definitions.

Within 3 months of the end of the monitoring period in which lead tap monitoring was conducted, a water supplier must submit a sample copy of the consumer notice along with a certification form that the notices were distributed by mail or by another method approved by DEP.

Templates for the consumer tap notice and the certification form are available on the LCR webpage:

www.dep.pa.gov/lead_copper_rule

PUBLIC EDUCATION

All community and nontransient noncommunity public water systems exceeding the lead action level must deliver a public education (PE) program to their customers within 60 days of the end of the monitoring period.  For systems on an annual or triennial monitoring frequency, the end of the monitoring period is September 30th.  The PE program must be continued if the system exceeds the lead action level.

1.  Requirements for Community Water Systems:

CONTENT

Community water systems must include EPA mandatory language and other content requirements established under 40 CFR 181.95(a)(1) and (2).

DEP recommends that CWSs obtain a copy of EPA’s “Implementing the Lead Public Education Provision of the Lead and Copper Rule” (EPA 816-R-08-0007. June 2008) for detailed information about the lead public education requirements.  This document includes fill-in-the-blank content templates for each type of delivery format.

This document is located at the following EPA link:

https://www.epa.gov/dwreginfo/lead-and-copper-rule-compliance-help-public-water-systems

DEP has created a fill-in-the-blank pamphlet that contains EPA’s mandatory language which is posted on the DEP LCR Webpage and located in eLibrary at this link:

http://www.elibrary.dep.state.pa.us/dsweb/View/Collection-13226

The PE program informs the public about the adverse health effects of lead and explains the steps people can take in their homes to reduce exposure to lead in drinking water.

The program includes mandatory language established by EPA for water bill inserts, public education notice, pamphlets and brochures, and press releases.  Any additional information presented by a system shall be consistent with the mandatory language.  Systems may delete information pertaining to lead service lines, upon approval from DEP, if they do not have lead service lines in their service area.  Systems may modify the language regarding building permit record availability and consumer access to these records upon approval from DEP.  If appropriate, public education materials shall be bilingual or multilingual.  Systems may contact the DEP district offices to obtain further assistance with the public education requirements.

Community water systems serving consumers who cannot make plumbing improvements that are recommended in the mandatory language (such as a prison or nursing home) may use the nontransient noncommunity public education materials and delivery methods.   To do this, they must apply to DEP in writing. (See instructions for nontransient noncommunity requirements provided in the “Delivery” subheading of this section of the guide.)

1.  Water bill/inserts:

A community water system must provide the following information on or in each water bill if the system exceeds the action level for lead.

“[INSERT WATER SYSTEM NAME] found high levels of lead in drinking water in some homes.  Lead can cause serious health problem.  For more information please call [INSERT WATER SYSTEM NAME] (or visit [INSERT WEB SITE ADDRESS]).”

2.  Press release:

A water system must submit a press release to newspaper, television and radio stations.  Use the EPA press release template to fulfill the mandatory public education content language requirement.

EPA’s “Implementing the Lead Public Education Provision of the Lead and Copper Rule” (EPA 816-R-08-0007. June 2008):

https://www.epa.gov/dwreginfo/lead-and-copper-rule-compliance-help-public-water-systems

NOTE:  Systems serving 3,300 or fewer persons may omit the press release if notices meeting the content requirements are distributed to every household served by the system.

- Web Site Posting for Systems Serving more than 100,000 people:

A community water system serving more than 100,000 people, must post education materials to the water system’s web site if the system exceeds the lead action level.

NOTE:  Water systems must submit copies of all written public education materials to DEP prior to delivery.

DELIVERY

The PE program must be delivered to your entire service area, and targeted to high-risk segments of the population (i.e., community members who are either more susceptible to the adverse effects of lead or who are at greater risk of exposure to lead in drinking water).  The 2010 short-term revisions expanded the delivery requirements to contact at-risk customers and included additional delivery activities.

Within 60 days after the end of the monitoring period in which the lead exceedance occurred (September 30th = end of monitoring period for annual or triennial monitoring frequencies), a community water system must deliver public education materials to:

- All bill paying customers.

- The local board or department of public health that has jurisdiction over the water system’s service area, along with an informational notice encouraging distribution to all the potentially affected consumers.  The water supplier shall contact the local board or department of public health directly by phone or in person.  The local board or department of public health may provide a specific list of additional community based organizations serving target populations outside the service area of the water system.  If a list is provided, the water supplier shall deliver PE materials to all organizations on the list.

- Organizations located within the water system’s service area, along with an informational notice that encourages distribution to all the organizations potentially affected customers or water system’s users:

  - Public and private schools or school board or both

  - Women Infants and Children (WIC) and Head Start programs

  - Public and private hospitals and medical clinics

  - Pediatricians

  - Family planning clinics

  - Local welfare agencies

- Additionally, a community water system must make a good faith effort to contact customers most at risk by delivering materials to the contact list of organizations identified below with an informational notice encouraging them to pass the information along.  Even if agencies are not located within the water system service area, water suppliers must make a good faith effort to contact at-risk customers from the following categories:

  - Licensed childcare facilities

  - Public and private preschools

  - Obstetrician-Gynecologists and Midwives

The good faith effort must include requesting a specific contact list of the organizations from the local board or department of public health that has jurisdiction over the water system’s service area.

Additional Delivery Activities:

- For systems serving 3,300 or more people:  the system must implement additional activities from at least three activities from the categories listed:

  - Public service announcements

  - Paid advertisements

  - Public area information displays

  - E-mails to customers

  - Public meetings

  - Household deliveries

  - Targeted individual customers contact

  - Direct distribution of education materials to all multifamily homes and institutions.

NOTE:  For systems serving 3,300 people or fewer, the system must implement 1 additional activity instead of 3.

  - The educational content and selection of these activities shall be determined in consultation with DEP.

- A water system may request an extension of the 60-day deadline, but the water system must receive written approval from DEP prior to the 60-day deadline.

|  | TASKS |
| --- | --- |
|  | Bill Insert | PE Notice | Press Release | 3 Additional Activities | Letter to State |
| Every Quarter | X |  |  |  |  |
| Every 6 Months |  |  | X (See note*) |  |  |
| Every 12 Months | X | X |  | X (See note*) |  |
| Within 10 days after completing the task |  |  |  |  | X |

*CWS serving 3,300 or fewer persons may omit the press release and are only required to conduct 1 additional activity instead of 3.  See the following information for more details.

Community Water Systems serving 3,300 or fewer people:

- May modify its PE program as follows:

  - The system may limit distribution of PE materials required to facilities that are most likely to be visited by pregnant women and children.

    - Public and private schools or school board or both

    - Women Infants and Children (WIC) and Head Start programs

    - Public and private hospitals and medical clinics

    - Pediatricians

    - Family planning clinics

    - Local welfare agencies

  - The system may omit the press release if notices meeting the content requirements are distributed to every household served by the system.

  - The system shall implement at least one additional activity instead of three activities.

2.  Requirements for Nontransient Noncommunity Water Systems:

Within 60 days after the end of the monitoring period in which the lead exceedance occurred (September 30th = end of monitoring period for annual or triennial monitoring frequencies), a nontransient noncommunity water system must deliver public education materials in the following ways:

- The water supplier shall post informational posters on lead in drinking water in a public place or common area in each of the buildings served by the system and distribute informational pamphlets and/or brochures on lead in drinking water to each person routinely served by the nontransient noncommunity water system.

Link to NTNCWS PE Poster and Pamphlet:

http://www.elibrary.dep.state.pa.us/dsweb/View/Collection-10963

- Systems may use electronic transmission in lieu of or combined with printed materials if it achieves at least the same coverage.

- A letter must be submitted to the department within 10 days after completing the task demonstrating that the system has delivered the PE materials that meet the regulation’s content and delivery requirements.

NOTE:  Community water systems serving consumers who cannot make plumbing improvements that are recommended in the mandatory language (such as a prison or nursing home) may use the nontransient noncommunity public education materials and delivery methods.   To do this, they must apply to DEP in writing.

|  | TASKS |
| --- | --- |
|  | Poster | Pamphlet | Letter to State |
| Every 12 Months | X | X |  |
| Within 10 days after completing the task |  |  | X |

CERTIFICATION LETTER

- A letter must be submitted to the department within 10 days after the end of the 60-day delivery deadline demonstrating that the system has delivered the PE materials that meet the regulation’s content and delivery requirements.  This letter must include a list of all newspapers, radio and television stations, facilities, and organizations to which the water supplier delivered PE materials during the most recent period for which the system was required to perform public education tasks.

- When a system is repeating tasks (bill insert, brochures, press releases and additional activities), the supplier is required to submit a certification letter within 10 days of completing the task.

DISCONTINUATION OF PUBLIC EDUCATION PROGRAM

- A water supplier may discontinue implementation of its PE program if the system does not exceed the lead action level during the most recent six-month monitoring period.

- Systems with an annual or triennial monitoring frequency can’t avoid delivering a PE program because the 60-day deadline occurs before the beginning of the next 6-month monitoring period.

- The system shall resume PE if it exceeds the lead action level at any time during any future monitoring period.

NOTIFICATION OF CUSTOMER MONITORING

- A water supplier that fails to meet the lead action level shall provide information regarding laboratories certified by the department for lead and copper testing to any customer who requests it.

SECTION 5

*Section			 Number

CCT COMPLIANCE SCHEDULE

OPTIMAL CORROSION CONTROL TREATMENT

All systems subject to the Lead and Copper Rule must achieve optimal corrosion control treatment (OCCT).  OCCT is defined as follows:

OCCT minimizes the lead and copper concentrations at users’ taps while 	ensuring that the treatment does not cause the system to violate any 	primary maximum contaminant level.

OCCT is achieved in one of the following ways:

Small and medium systems:

- By not exceeding either action level for lead and copper tap monitoring during two consecutive six-month monitoring periods.

All systems:

- If, during two consecutive six-month monitoring periods, their lead and copper tap monitoring results do not exceed the action levels at the 90th percentile and the difference between the 90th percentile lead level and the highest source water lead concentration is less than 0.005 mg/L.

- When the system installs new CCT facilities or modifies existing treatment and operates in compliance with the water quality parameter (WQP) performance standards specified for that system by the department.

Systems are required to optimize corrosion control treatment (OCCT) at all times to ensure public health protection.

- Any changes in source water (adding or removing sources or interconnections) or changes in treatment must be approved by DEP via a permit or permit amendment prior to making the change.  Water systems must assess simultaneous compliance issues with other rules as part of the permitting process.

- Systems should review EPA’s “OCCT Evaluation Technical Recommendations for Public Water Systems” (EPA 816-B-16-003 March 2016) which also discusses impacts on any change to a system’s CCT.  Here’s the link to this document:

https://www.epa.gov/dwreginfo/optimal-corrosion-control-treatment-evaluation-technical-recommendations

Systems requiring construction or modification of treatment facilities to achieve OCCT must adhere to a compliance schedule.  Modification of treatment facilities includes changes in treatment chemicals, with or without modifications to chemical feed equipment.

COMPLIANCE MILESTONES FOR EXISTING LARGE SYSTEMS

Table 1 on the next page lists the compliance milestones and the original fixed dates for large systems that existed when the regulation became effective.

| TABLE 1 COMPLIANCE MILESTONES FOR LARGE SYSTEMS* |
| --- |
| Activity | Date |
| Conduct Initial Monitoring Submit CCT Feasibility Study Submit Permit Application Complete Construction of CCT Facilities Conduct Follow-up Monitoring Request Department to Designate WQP Performance Requirements Conduct Routine Monitoring | June 30, 1994 March 31, 1995 December 31, 1996 January 31, 1998 |

*If a large system fails to achieve or maintain OCCT after completing the required milestones above, that system may need to repeat the milestones, beginning with submitting a feasibility study.  See Table 2 on the next page.

COMPLIANCE MILESTONES FOR SYSTEMS REQUIRING CCT

Table 2 is the compliance schedule for systems requiring CCT.  Because initial monitoring is phased-in by system size and CCT is required only if a small or medium system exceeds an action level, this schedule begins the first day after the end of the monitoring period in which the system first exceeds an action level.  Large systems that do not achieve or maintain OCCT may need to repeat the compliance milestones found on Table 2.

| TABLE 2 COMPLIANCE MILESTONES FOR SYSTEMS REQUIRING CCT |
| --- |
| Activity | Small/Medium Months from Exceeding an Action Level | Large Months from Losing OCCT Designation |
| Conduct Initial Monitoring Submit CCT Feasibility Study Submit Permit Application Initiate Construction of CCT Facilities Complete Construction of CCT Facilities Conduct Follow-up Monitoring Request Department to Designate WQP Performance Requirements Within 30 Days of the End of the Follow-up Monitoring Period Conduct Routine Monitoring | Within 18 Months Within 30 Months Within 48 Months Within 60 Months | Within 18 Months Within 30 Months Within 48 Months Within 60 Months |

CCT FEASIBILITY STUDY

The Lead and Copper Rule requires all large systems and those small and medium systems that exceed either the lead or copper action level to prepare CCT feasibility studies. Studies must be submitted within 18 months of exceeding an action level.

The purpose of the study is to identify corrosion control priorities, evaluate corrosion control alternatives, and recommend OCCT.

The department encourages systems to conduct desktop evaluations of treatment alternatives, with emphasis on the use of data from systems with successful CCT under analogous conditions.  Demonstration testing, which usually involves either bench or full-scale testing using pipe loops or metal coupons, will be required only when a thorough desktop evaluation is insufficient to provide a confident treatment recommendation.  Demonstration testing also may be required when a system continues to exceed an action level after CCT has been installed.

As a minimum, the system should include the information required in a basic study as outlined below:

- A sample site location plan;

- A summary of all lead and copper and WQP monitoring results;

- A desktop evaluation of alkalinity and pH adjustment, calcium hardness adjustment, and corrosion inhibitor addition or a combination of these treatments.  The evaluation shall recommend OCCT and WQP performance requirements for the selected treatment.  If source water treatment is needed to achieve OCCT, the system shall evaluate the source water treatments including ion exchange, reverse osmosis, lime softening and coagulation/filtration; and

- A proposed schedule for completion of the remaining CCT compliance steps including, but not limited to, treatment design and permit application submittal, financing and construction, and initiation of operation.

A demonstration study should include the evaluation of CCTs using pipe rig/loop tests, metal coupon tests or partial system tests.

A Basic Feasibility Study Guide is available which includes a desktop evaluation form and describes additional information required for a complete study.  A system that prepares a complete basic feasibility study in accordance with the instructions will generally comply with the Lead and Copper Rule requirements pertaining to CCT studies, select the most feasible alternative, minimize the cost impact of treatment and, in most cases, eliminate the need for demonstration testing.  This guide is available from the district or regional DEP offices.

PERMIT REQUIREMENTS

Systems requiring construction or modification of CCT facilities under the Lead and Copper Rule must first obtain the appropriate permit approvals from the department.

The permit requirements include a two-permit process which is consistent with current permitting procedures.  The two permits include a construction permit or amendment and an operation permit or amendment.

Construction Permit and Permit Amendments

A water system must first submit an application for a construction permit for a newly-created system or an amended construction permit for a currently-permitted system for CCT facilities by the applicable deadline.  The application shall include all applicable data including plans and specifications for the selected CCT and a recommendation for WQP performance requirements.  The construction permit allows the system to construct the approved facilities.

Small community water systems with high quality ground water can qualify for a minor permit amendment if the system submits a written request to the department that satisfies the following:

- The system is a small system;

- The sources of supply for the system are not surface-water sources;

- Except for CCT, the sources require treatment no greater than disinfection; and

- The proposed CCT is limited to alkalinity or pH adjustment, or both.

Nontransient noncommunity water systems may qualify for permit-by-rule under the same criteria as mentioned above if the system files a brief description of the proposed treatment, including recommended WQP performance requirements for OCCT, on forms acceptable to the department.  Proposed treatment systems must meet the Department’s design standards. Descriptions of modifications may be filed prior to construction if the system desires technical assistance, but shall be filed within 30 days of initiation of operation of the modification.

Operation Permits and Permit Amendments

Following completion of construction and department pre-operation inspection, the system shall obtain an operation permit or an amended operation permit prior to initiation of operation of CCT facilities.  (Note: Nontransient noncommunity water systems that received a permit-by-rule are not required to obtain an operation permit or an amended operation permit until after follow-up monitoring is completed.)  The department will not issue an operation permit unless the water system complies with the operation and maintenance plan requirements and the operator certification and training requirements (Section 11).

After follow-up monitoring (Section 6) is completed, all systems shall submit a request for department designation of OCCT performance requirements based on the appropriate schedule (Section 8) and the department will issue an amended operation permit designating the performance requirements.

Design Standards

CCT facilities shall be designed to satisfy the following standards:

- A minimum pH measured in all distribution samples of at least 7.0; and

- For community and nontransient noncommunity systems that received a minor permit amendment and a permit-by-rule respectively, a minimum alkalinity measured in all distribution samples of 20 mg/L.

Fees

A system receiving permitting and related services from the department for CCT facilities shall pay the applicable fees by a check in the amount specified to the “Commonwealth of Pennsylvania.”

An application for a construction permit or major permit amendment shall be accompanied by payment for the following fee:

| System Size | Fee |
| --- | --- |
| Small Medium Large | $250.00 $500.00 $1,750.00 |

A system not required to submit an application for a construction permit or major permit amendment shall submit payment for the applicable fee below with its request for department designation of OCCT performance requirements.

| System Size | Fee |
| --- | --- |
| Small Medium Large | $125.00 $375.00 $1,250.00 |

SECTION 6

*Section			 Number

FOLLOW-UP MONITORING

Systems that have completed construction or modification of corrosion control treatment facilities are required to conduct follow-up monitoring.  Follow-up monitoring demonstrates the effectiveness of the treatment in reducing lead and copper at customers’ taps.  These results provide the basis for corrosion control treatment performance requirements (Section 8).

LEAD AND COPPER TAP MONITORING

Follow-up lead and copper tap monitoring for water systems consists of two consecutive six-month periods at the same number of sites as initial monitoring.  A system may begin follow-up monitoring any time following issuance of an operations permit for CCT facilities, if the monitoring is conducted by the deadlines given below.

A small or medium water system shall monitor during each of two consecutive six-month monitoring periods following issuance of an operations permit for CCT facilities but beginning no later than 60 months from the date an action level was exceeded.  A small or medium system that does not exceed the lead and copper action levels during follow-up monitoring may go to reduced monitoring (Section 9).

A large water system shall monitor during each of two consecutive six-month monitoring periods beginning no later than January 1, 1997.

A system which exceeds the lead action level after construction or modification of corrosion control treatment facilities shall begin lead service line replacement (Section 7).

WATER QUALITY PARAMETER MONITORING

Follow-up water quality parameter monitoring for water systems consists of collection of distribution samples during each specified monitoring period at the same number of sites as initial monitoring and at each entry point at least once every two weeks.

The water quality parameters shall be measured as follows.

1.	At sites within the distribution system, two sets of samples

taken on different days from the same sample sites for:

- pH;

- Alkalinity;

- Orthophosphate, when a phosphate inhibitor is used;

- Silica, when a silicate inhibitor is used; and

- Calcium, when calcium carbonate stabilization is used.

2.	At each entry point, one set of samples every two weeks for:

- pH;

- When alkalinity is adjusted as part of corrosion control treatment, a reading of the dosage rate of the chemical used to adjust the alkalinity, and the alkalinity concentration; and

- When a corrosion inhibitor is used as part of corrosion control treatment, a reading of the dosage rate of the inhibitor used, and the concentration of orthophosphate or silica, whichever is applicable.

A small or medium water system shall measure the water quality parameters during each six-month monitoring period in which the system exceeds either the lead or copper action level.  Distribution system monitoring shall be conducted once during the monitoring period and biweekly entry point monitoring shall continue if the system exceeds the action level.

A large water system shall measure the water quality parameters during each of the two consecutive six-month monitoring periods in which the system conducts lead and copper tap monitoring.

SOURCE WATER MONITORING

A system which installs source water treatment shall monitor the source water at source water treatment entry points for the parameter(s) for which the treatment was installed.    The system shall monitor source water during the two consecutive six-month monitoring periods.  Any other system which exceeds either the lead or copper action level while conducting follow-up lead and copper tap monitoring shall collect one source water sample from each entry point within six months of the end of the monitoring period in which the action level was exceeded.

SECTION 7

*Section			 Number

LEAD SERVICE LINE REPLACEMENT

Under the Lead and Copper Rule, systems that still exceed the lead action level during lead and copper tap monitoring conducted after construction or modification of corrosion control treatment facilities must initiate lead service line (LSL) replacement.  The first year of lead service line replacement begins on the first day following the end of the monitoring period in which the action level was exceeded.  If a system is on an annual or triennial monitoring frequency, the end of the monitoring period is September 30 of the calendar year in which sampling occurred.  If DEP has designated an alternate monitoring period in writing, the end of the monitoring period is the last day of the designated alternate monitoring period.  Water suppliers must replace LSLs at a rate of at least 7 percent per year beginning the next 6-month monitoring period following the action level exceedance.  The water supplier need only replace those LSLs which exceed the lead action level when specifically sampled for this determination as outlined below:

- 1 liter sample size;

- First-draw after six hour standing time in the LSL;

- Collected in one of the following three ways:

1.  At the tap, flush the volume of water between the tap 	 	and the LSL.  The volume of water shall be calculated

based on the interior diameter and length of the pipe

between the tap and the LSL; or

2.  Tap directly into the LSL; or

3.  If the sampling site is a single-family residence, allow

the water to run until there is a significant change in

temperature which would be indicative of water that

has been standing in the LSL.

When replacing LSLs, the water supplier must replace the portion of the line that it owns.  The supplier must make an offer to the property owner to replace the privately-owned portion of the LSL.  A system is not required to replace the line if the owner refuses to pay for the cost of replacement of the privately-owned portion of the line, or if any laws prohibit this replacement.

A supplier that does not replace the entire LSL must do the following:

- Notify the residents at least 45 days before partial line replacement that lead levels may increase temporarily following the replacement.

The notice must include:

- An explanation that residents may experience a temporary increase of lead levels in their drinking water.

- Measures consumers can take to minimize their exposure to lead.

- The water system’s offer to collect a sample from each partially-replaced LSL that is representative of the water.

- Within 72 hours of completing the partial LSL replacement, collect at the system’s expense a lead sample that is representative of the lead content of water in the service line.

- Within 3 business days of receiving the results, notify the residents by mail of these results.  Systems have the option to post this information in a conspicuous place in those instances where multifamily dwellings are served by the line.

A water supplier may cease replacing LSLs if the system conducts lead and copper tap monitoring during two consecutive monitoring periods without exceeding the lead action level.

Resumption of Lead Service Line Replacement

- Water systems that resume a LSL replacement program shall update their LSL inventory to include those sites that were previously excluded if the water supplier sampled the LSL and none of the lead concentrations in any service line samples from that line exceeds 0.015 mg/L.

- Systems shall divide the updated number of remaining LSLs by the number of remaining years in the replacement program to determine the number that must be replaced each year.

- If the system has completed a 15-year LSL replacement program, DEP will determine a schedule for replacing or retesting LSLs that were previously tested out under the replacement program.

REPORTING REQUIREMENTS

A water system conducting LSL replacement shall, within the first three months of the first year of LSL replacement, submit to the department the following:

- Evidence that a materials evaluation of the system has been conducted;

- A schedule for replacing at least 7 percent of the LSLs identified in the materials evaluation; and

- The initial number of lead service lines in its distribution system and the portions owned by the system based on a materials evaluation and the legal authority regarding the portion owned by the system.

A water system conducting LSL replacement shall notify the department in writing that the system has replaced at least 7 percent of the LSLs identified in the materials evaluation, or that the results of lead sampling from individual lines scheduled for replacement do not exceed 0.015 mg/L.  The notification shall be given by the end of each year of LSL replacement and contain the following information:

- The name, address and public water system identification number of the public water system;

- The number of LSLs scheduled for replacement during the previous year;

- The number and location of LSLs replaced during the year; and

4.	If LSL sampling is completed in individual LSLs, the date and the results of this sampling and method of sampling used.

SECTION 8

*Section			 Number

OCCT PERFORMANCE REQUIREMENTS

Systems installing corrosion control treatment (CCT) and/or source water treatment will be required to operate this treatment within specified performance standards designated by the department.

Upon completion of required follow-up monitoring conducted after construction or modification of CCT and/or source water treatment facilities, the water system shall submit to the department a request for designation of optimal corrosion control treatment (OCCT) performance requirements.  The request shall include as a minimum a summary of analyses conducted during follow-up monitoring and recommended performance requirements.

WQP PERFORMANCE REQUIREMENTS

The department will act upon a system’s request for the department’s designation of WQP performance requirements following the time table below:

| System Type | Deadline for System Request to DEP to Designate Performance Requirements | DEP Will Designate Performance Requirements |
| --- | --- | --- |
| Large* | January 31, 1998 | By June 30, 1998 |
| Systems installing/ modifying CCT | Within 30 days after follow-up monitoring period | Within 18 months after completion of construction |

*If a large system fails to achieve or maintain OCCT after completing the milestones, that system may be required to repeat the milestones and would request DEP to designate performance requirements within 30 days after the follow-up monitoring period.

Depending on the type of CCT, the performance requirements will be designated as follows:

- Minimum pH value or range at each entry point;

- Minimum pH value in distribution samples;

- If inhibitor used, minimum inhibitor concentration or range at each entry point and in distribution samples;

- If alkalinity adjusted, minimum alkalinity concentration or range at each entry point and in distribution samples; and

- If calcium carbonate stabilization used, minimum calcium concentration or range in distribution samples.

The performance requirements will be specified in the amended operation permit.

SOURCE WATER TREATMENT PERFORMANCE REQUIREMENTS

The department will act upon a system’s request for the department’s designation of source water treatment performance requirements when WQP performance requirements are established for the system.

The performance requirements will be specified in the amended operation permit.

MONITORING AFTER PERFORMANCE REQUIREMENTS ESTABLISHED

A system shall conduct six-month monitoring beginning no later than the next six-month monitoring period following the department’s designation of OCCT WQP performance requirements and/or source water performance requirements.

- All large systems are required to conduct six-month monitoring after performance requirements are established until they qualify for reduced monitoring (Section 9).

- A small or medium system is required to conduct this monitoring only if the system has not yet qualified for reduced monitoring (i.e., the system exceeded an action level during follow-up monitoring).

Lead and Copper Tap Monitoring

A system required to conduct lead and copper tap monitoring shall monitor during each six-month monitoring period at the same number of sites as initial monitoring until the system qualifies for reduced monitoring.

WQP Performance Monitoring

A system required to conduct WQP performance monitoring shall measure the applicable WQPs in the distribution system during each six-month monitoring period at the same number of sites as initial WQP monitoring and at each entry point at least once every two weeks.  The results of this monitoring will be used by the department in determining compliance with the WQP performance requirements.

A large water system shall conduct this monitoring during each six-month monitoring period until the system qualifies for reduced monitoring.

A small or medium system which is conducting lead and copper tap monitoring as outlined above shall measure the WQPs during each six-month monitoring period in which the system exceeds either the lead or copper action level.  Distribution system monitoring shall be conducted at least once during the monitoring period and biweekly entry point monitoring shall continue if the system exceeds the action level.

Source Water Monitoring

A system which is conducting lead and copper tap monitoring as outlined above shall monitor for the parameters exceeding the action level at each entry point within six months of the action level exceedance.

For systems which have installed source water treatment, the results of this monitoring will be used by the department in determining compliance with source water treatment performance requirements.

DETERMINING COMPLIANCE WITH PERFORMANCE REQUIREMENTS

A system that operates within the specified ranges for each applicable parameter is in compliance with the treatment technique and has achieved OCCT.

A system is out of compliance with WQP performance requirements and incurs a WQP violation for a 6-month period if it has excursions for any department specified water quality parameter on more than any 9 days during the 6-month monitoring period.

- Compliance determinations are always based on a 6-month monitoring period, regardless of system’s monitoring schedule (daily, biweekly, every 6 months, annually, triennially).

- An excursion is any “daily value” for a WQP that is below the minimum value or outside the range set by DEP.

- The duration is the number of days that elapse starting with the day the excursion first occurs, until the day the daily value is within the WQP range or above the minimum for that WQP.

- The excursion days can occur any time during the 6-month monitoring period and do not have to be consecutive days.

- Excursions are determined at specific sampling points or for specific WQP parameters.

- To determine if a system is in compliance, count the total number of days that a system had an excursion for each sampling location and for each WQP.

- Systems that have 9 or fewer excursion days are in compliance.  Those that have more than 9 days are out of compliance.

A system that incurs a WQP violation and/or source water monitoring violation shall:

- Report the violation to DEP;

- Issue public notification (Section 10);

- For large systems:  Conduct 6-month lead and copper tap and WQP water monitoring at the original number of sampling sites;

- For small and medium systems exceeding an action level:    Conduct 6-month lead and copper tap at the original number of sampling sites (and WQP samples when an action level is exceeded);

- Include the violation in its Consumer Confidence Report (CCR) if system is a community water system; and

- Evaluate system operation (May need to repeat compliance milestones).

SECTION 9

*Section			 Number

REDUCED MONITORING

LEAD AND COPPER TAP WATER MONITORING

A community water system conducting reduced lead and copper tap monitoring shall collect one sample from the following number of sample sites:

| SYSTEM SIZE | NO. OF SAMPLING SITES |
| --- | --- |
| >100,000 10,001 to 100,000 3,301 to 10,000 501 to 3,300 101 to 500 (100 | 50 30 20 10 5 5 |

Annual Lead and Copper Tap Monitoring

Systems may reduce the number of sample sites and reduce the frequency of sampling to once per year in one of the following ways:

1.  Small and medium water systems can automatically qualify for reduced monitoring by not exceeding the lead and copper action levels during each of two consecutive six-month monitoring periods.

2.  Any system can qualify for reduced monitoring by not exceeding the lead and copper action levels during each of two consecutive six-month monitoring periods and if the difference between the 90th percentile lead level and the highest source water lead concentration is less than 0.005 mg/L.

3.  Any water system that has installed or modified CCT can qualify for reduced monitoring by not exceeding the lead and copper action levels during each of two consecutive six-month monitoring periods AND by maintaining the range of values for the optimal corrosion control treatment (OCCT) water quality parameter (WQP) performance requirements during each of two consecutive six-month monitoring periods.

Triennial Lead and Copper Tap Monitoring

Systems may further reduce the frequency of sampling to once every three years at the reduced number of sample sites in one of the following ways:

- Small or medium water systems can automatically qualify for reduced monitoring by not exceeding the lead and copper action levels during three consecutive years of monitoring, including initial monitoring; or

- Any water system that has installed or modified CCT can automatically qualify for reduced monitoring by not exceeding the lead and copper action levels during three consecutive years of 6-month or annual monitoring AND by maintaining the range of values for OCCT WQP performance requirements during three consecutive years of monitoring; or

- Any water system can automatically qualify for reduced monitoring if, during two consecutive six-month monitoring periods, their 90th percentile lead level is less than or equal to 0.005 mg/L and their 90th percentile copper level is less than 0.65 mg/L.

Nine Year Lead and Copper Tap Monitoring Waiver

A small system may apply to the department using the monitoring waiver application form to reduce the frequency of monitoring for lead or copper or both to once every 9 years.   To qualify for this waiver, the system must meet both the materials criteria and monitoring criteria specified below:

Materials Criteria:

For lead:  The system shall provide certification and supporting documentation to the department that the system (including distribution system, service lines, and all drinking water plumbing in residences and buildings) is free of all lead-containing materials as follows:

- It contains no plastic pipes or plastic service lines which contain lead plasticizers, AND

- It is free of lead service lines, lead pipes, lead soldered pipe joints, and leaded brass or bronze alloy fittings and fixtures, unless the fittings and fixtures meet the specification of any standard established under 42 U.S.C.A 300g-6(e) (relating to plumbing fittings and fixtures).

For copper:  The system shall provide certification and supporting documentation to the department that the system contains no copper pipes or copper service lines.

Monitoring Criteria:

The system shall have completed at least one 6-month period of lead and copper tap monitoring at the initial number of sites.

For Lead:  The system’s 90th percentile lead level does not exceed 0.005 mg/L for all rounds of monitoring conducted since the system became free of all lead-containing materials.

For copper:  The system’s 90th percentile copper level does not exceed 0.65 mg/L for all rounds of monitoring conducted since the system became free of all copper-containing materials.

Waiver Determination

The supplier shall continue to monitor for lead and copper as required, until the system receives written notification from the department that the waiver has been approved.

The department will notify the system of its waiver determination, in writing, and any condition of the waiver.

The waiver will be renewed automatically if the requirements below are met.

Waiver Requirements

The supplier shall:

- Conduct tap water monitoring for the contaminant waived at the reduced number of sites at least once every 9 years.

- Provide the materials certification for the contaminant(s) waived along with the monitoring results.

- Monitor for any nonwaived contaminants at least once every three years.

- Notify the department, in writing, within 60 days after becoming aware that the system is no longer free of lead-containing or copper-containing materials because of new construction or repair.

Waiver Revocation

A waiver is revoked when any of the following occur:

- A system with a lead waiver no longer satisfies the materials criteria or has a 90th percentile lead level greater than 0.005 mg/L.

- A system with a copper waiver no longer satisfies the materials criteria or has a 90th percentile copper level greater than 0.65 mg/L.

- The department notifies the system, in writing, that the waiver has been revoked.

A water system whose waiver has been revoked is required to do the following:

- If the system exceeds the lead or copper action level(s), the system shall begin the compliance milestones required for corrosion control treatment.

- If the system meets both the lead and copper action levels, the system shall monitor for lead and copper at the tap no less frequently than once every 3 years at the reduced number of sample sites.

A system whose waiver has been revoked may reapply for a waiver when it again meets the appropriate materials criteria and 90th percentile levels.

Sample Sites

Systems that qualify for reduced monitoring shall collect their samples from the targeted pool of sampling sites identified in their sample site location plan.  Systems must maintain the initial ratio of tier 1, tier 2 or 3 sites.

Timing

Systems sampling annually or triennially shall conduct the lead and copper tap sampling between June 1 and September 30.  The department may approve a different 4-month period that represents a time of normal operation when the highest levels of lead are most likely to occur.

Triennial monitoring shall be conducted during the last year of each three-year compliance period (i.e., 1998, 2001, 2004, and so forth).

Monitoring every nine years shall be conducted during the last year of each nine-year compliance cycle (i.e., 2010, 2019, 2028, and so forth)

#### Reduced Lead and Copper Tap Monitoring Revocation

A system must return to six-month monitoring periods at the original number of sampling sites if:

- A large water system fails to meet the lead or copper action level during any 4-month monitoring period (i.e., annual or triennial) OR fails to operate within the range of performance requirements for the WQPs on more than any 9 days in any 6-month monitoring period; or

- A small or medium water system fails to meet the lead or copper action level during any 4-month monitoring period (i.e., annual or triennial) OR a small or medium water system with corrosion control treatment (CCT) fails to operate within the range of performance requirements for the WQPs on more than any 9 days in any 6-month monitoring period.

NOTE:  Small and medium systems that have not installed CCT and no longer qualify for reduced lead and copper monitoring are not required to resume six-month lead and copper tap monitoring.  Instead, they are required to follow the compliance milestones under Section 5.  They can still conduct special monitoring (Section 3) prior to initiation of construction of CCT.

WATER QUALITY PARAMETER MONITORING

All large water systems that maintain the range of values for WQP performance requirements reflecting OCCT during each of two consecutive six-

month monitoring periods may collect distribution samples from the reduced

number of sites during subsequent six-month monitoring periods as follows:

| REDUCED MONITORING FOR WATER QUALITY PARAMETERS |
| --- |
| System Size | No. of Sampling Sites |
| >100,000 | 10 |
| 50,001 to 100,000 | 7 |

All large water systems that maintain the range of values for WQP performance requirements reflecting OCCT during three consecutive years of monitoring at the reduced number of sites may reduce the frequency with which it collects sets of WQP distribution samples from every six months to annually.  A system conducting annual sampling shall collect these sets of samples evenly throughout the year to reflect seasonal variability.

A large system may reduce the frequency with which it collects sets of WQP distribution samples to every 3 years if during two consecutive monitoring periods:

- the 90th percentile lead level is less than or equal to 0.005 mg/L; AND

- the 90th percentile copper level is less than or equal to 0.65 mg/L; AND

- system maintains the range of values for the water quality parameter performance requirements.

WQP monitoring at the entry points is not eligible for reduced monitoring.

Reduced Water Quality Parameter Monitoring Revocation

A large water system must return to six-month monitoring periods at the original number of sampling sites if a large water system fails to operate within the range of performance requirements for the WQPs on more than any 9 days in any 6-month monitoring period.

However, a large system may resume annual monitoring and triennial monitoring as soon as they qualify for each of these reduced monitoring levels.

SECTION 10

*Section			 Number

PUBLIC NOTIFICATION

A water system shall give public notification when one of the following occurs:

- The water system fails to perform monitoring and analyses as required by the Lead and Copper Rule; or

- The water system is not in compliance with a treatment technique requirement.

Public notification shall be given in accordance with Subchapter D in 25 Pa. Code Chapter 109.

SYSTEM MANAGEMENT RESPONSIBILITIES

REPORTING AND RECORDKEEPING

Sample Site Location Plan

The system shall prepare a sample site location plan, maintain the plan on record and present or submit the plan upon request to the department.  The system shall update the following information in the plan within the first 10 days following the end of each applicable monitoring period:

- Selection of different lead and copper tap sample sites sampled during previous monitoring periods and corresponding site selection justification;

- Changes in water quality parameter (WQP) distribution or entry point site selection or source water entry point site selection from sites sampled during previous monitoring periods; and

- An update of the sample procedure certification.

#### Reporting of Monitoring Results

The water system shall assure that the lead and copper tap and source water monitoring results are reported to the department within the first 10 days following the end of the applicable monitoring period.    The water supplier shall complete a WQP operational report for each 6-month monitoring period that WQP monitoring is conducted.  The supplier shall submit this report to the local DEP office no later than 10 days following the end of the 6-month monitoring period.

CCT Reporting Requirements

A water system demonstrating OCCT shall submit information sufficient for the department to evaluate and determine whether optimal treatment has been achieved.

A large water system shall complete a CCT feasibility study and submit the study to the department by June 30, 1994.

A small or medium water system required to complete a CCT feasibility study shall submit the study to the department within 18 months of exceeding an action level.

Upon completion of construction or modification of CCT the water system shall submit to the department a certification of construction.

Upon completion of follow-up monitoring, the water system shall submit to the department a request for designation of OCCT performance requirements.

PE Reporting Requirements

(See PE Section 4)

LSL Replacement Reporting Requirements

(See LSL Section 7)

OPERATION AND MAINTENANCE (O&M) PLAN

A community water system which completes construction or modification of CCT facilities shall include in its O&M plan information concerning the new or modified CCT.

A nontransient noncommunity water system which completes construction or modification of CCT facilities shall develop an O&M plan for the facilities.

The O&M plan for CCT facilities shall contain at least the following information:

- A description of the facilities;

- An explanation of startup and normal operation procedures;

- A routine maintenance program;

- A records and reporting system;

- Sampling and analysis program;

- Staffing and training;

- A safety program;

- An emergency plan and operating procedures; and

- Manufacturers’ manuals.

OPERATOR CERTIFICATION

Community water systems and nontransient noncommunity water systems which are required to construct or modify CCT facilities shall comply with the requirements under §109.704 (relating to operator certification).  Specifically:

Require personnel to be certified under the Sewage Treatment Plant and Waterworks Operators’ Certification Act with an appropriate class and subclass 7 (corrosion control and sequestering).

LSL REPLACEMENT

(See LSL Section 7)

# Footnotes

NOTE:  Small and medium systems can qualify for reduced monitoring at any time by not exceeding the lead and copper action levels during two consecutive six-month monitoring periods.

NOTE:  The Large Systems flow chart is provided as a reference.  The flow chart at the beginning of each section is the Small and Medium Systems flow chart.  Section references are the same for both flow charts.

NOTE:  Small and medium systems can qualify for reduced monitoring at any time by not exceeding the lead and copper action levels during two consecutive six-month monitoring periods.

NOTE:  Small and medium systems can qualify for reduced monitoring at any time by not exceeding the lead and copper action levels during two consecutive six-month monitoring periods.

NOTE:  Small and medium systems can qualify for reduced monitoring at any time by not exceeding the lead and copper action levels during two consecutive six-month monitoring periods.

NOTE:  Small and medium systems can qualify for reduced monitoring at any time by not exceeding the lead and copper action levels during two consecutive six-month monitoring periods.

NOTE:  Small and medium systems can qualify for reduced monitoring at any time by not exceeding the lead and copper action levels during two consecutive six-month monitoring periods.

NOTE:  Small and medium systems can qualify for reduced monitoring at any time by not exceeding the lead and copper action levels during two consecutive six-month monitoring periods.

NOTE:  Small and medium systems can qualify for reduced monitoring at any time by not exceeding the lead and copper action levels during two consecutive six-month monitoring periods.

NOTE:  Small and medium systems can qualify for reduced monitoring at any time by not exceeding the lead and copper action levels during two consecutive six-month monitoring periods.

NOTE:  Small and medium systems can qualify for reduced monitoring at any time by not exceeding the lead and copper action levels during two consecutive six-month monitoring periods.

# Text boxes

2*

INITIAL MONITORING

Materials Evaluation

Sample Site Location Plan

Lead/Copper Tap

(Two 6-Month Periods)

4

PUBLIC EDUCATION

(Within 60 Days)

Continues if Lead Action Level is Exceeded

Consumer Tap Notice 2011 and beyond

2

INITIAL MONITORING

WQP Entry Point

WQP Distribution

Source Water

9

REDUCED

MONITORING

3

SPECIAL MONITORING

(Optional)

7

If Lead Action Level Exceeded

LSL REPLACEMENT

RE-EVALUATE FEASIBILITY STUDY

EXCEEDS

ACTION LEVEL

8

MONITORING FOLLOWING

PERFORMANCE REQUIREMENTS

5

CCT COMPLIANCE

SCHEDULE

(60 Months)

6

FOLLOW-UP MONITORING

(Two 6-Month Periods)

8

REQUEST WQP PERFORMANCE REQUIREMENTS

(Within 30 Days)

EVALUATE SYSTEM OPERATION

ACTION LEVEL

EXCEEDED?

NO

YES

If Action Level Exceeded

CONTINUE 6-MONTH MONITORING

10

PUBLIC NOTIFICATION

8

INCURS

WQP VIOLATION

2*

INITIAL MONITORING

Materials Evaluation

Sample Site Location Plan

Lead/Copper Tap

WQP Distribution

WQP Entry Point

(Two 6-Month Periods)

8

INCURS

WQP VIOLATION

EXCEEDS

ACTION LEVEL

EXCEEDS

ACTION LEVEL

5

CCT COMPLIANCE

SCHEDULE

(By December 31, 1996)

CONTINUE 6-MONTH MONITORING

EVALUATE SYSTEM OPERATION

10

PUBLIC NOTIFICATION

9

REDUCED

MONITORING

8

MONITORING FOLLOWING

PERFORMANCE REQUIREMENTS

RE-EVALUATE FEASIBILITY STUDY

7

If Lead Action Level Exceeded

LSL REPLACEMENT

8

REQUEST WQP PERFORMANCE REQUIREMENTS

(By January 31, 1998)

6

FOLLOW-UP MONITORING

(Two 6-Month Periods)

4

PUBLIC EDUCATION

(Within 60 Days)

Continues if Lead Action Level is Exceeded

Consumer Tap Notice 2011 and beyond

2

INITIAL MONITORING

Source Water

2*

INITIAL MONITORING

Materials Evaluation

Sample Site Location Plan

Lead/Copper Tap

(Two 6-Month Periods)

4

PUBLIC EDUCATION

(Within 60 Days)

Continues if Lead Action Level is Exceeded

Consumer Tap Notice 2011 and beyond

2

INITIAL MONITORING

WQP Entry Point

WQP Distribution

Source Water

9

REDUCED

MONITORING

3

SPECIAL MONITORING

(Optional)

7

If Lead Action Level Exceeded

LSL REPLACEMENT

RE-EVALUATE FEASIBILITY STUDY

8

INCURS

WQP VIOLATION

EXCEEDS

ACTION LEVEL

8

MONITORING FOLLOWING

PERFORMANCE REQUIREMENTS

5

CCT COMPLIANCE

SCHEDULE

(60 Months)

6

FOLLOW-UP MONITORING

(Two 6-Month Periods)

8

REQUEST WQP PERFORMANCE REQUIREMENTS

(Within 30 Days)

EVALUATE SYSTEM OPERATION

ACTION LEVEL

EXCEEDED?

NO

YES

If Action Level Exceeded

CONTINUE 6-MONTH MONITORING

10

PUBLIC NOTIFICATION

2*

INITIAL MONITORING

Materials Evaluation

Sample Site Location Plan

Lead/Copper Tap

(Two 6-Month Periods)

4

PUBLIC EDUCATION

(Within 60 Days)

Continues if Lead Action Level is Exceeded

Consumer Tap Notice 2011 and beyond

2

INITIAL MONITORING

WQP Entry Point

WQP Distribution

Source Water

9

REDUCED

MONITORING

3

SPECIAL MONITORING

(Optional)

7

If Lead Action Level Exceeded

LSL REPLACEMENT

RE-EVALUATE FEASIBILITY STUDY

8

INCURS

WQP VIOLATION

EXCEEDS

ACTION LEVEL

8

MONITORING FOLLOWING

PERFORMANCE REQUIREMENTS

5

CCT COMPLIANCE

SCHEDULE

(60 Months)

6

FOLLOW-UP MONITORING

(Two 6-Month Periods)

8

REQUEST WQP PERFORMANCE REQUIREMENTS

(Within 30 Days)

EVALUATE SYSTEM OPERATION

ACTION LEVEL

EXCEEDED?

NO

YES

If Action Level Exceeded

CONTINUE 6-MONTH MONITORING

10

PUBLIC NOTIFICATION

2*

INITIAL MONITORING

Materials Evaluation

Sample Site Location Plan

Lead/Copper Tap

(Two 6-Month Periods)

4

PUBLIC EDUCATION

(Within 60 Days)

Continues if Lead Action Level is Exceeded

Consumer Tap Notice 2011 and beyond

2

INITIAL MONITORING

WQP Entry Point

WQP Distribution

Source Water

9

REDUCED

MONITORING

3

SPECIAL MONITORING

(Optional)

7

If Lead Action Level Exceeded

LSL REPLACEMENT

RE-EVALUATE FEASIBILITY STUDY

8

INCURS

WQP VIOLATION

EXCEEDS

ACTION LEVEL

8

MONITORING FOLLOWING

PERFORMANCE REQUIREMENTS

5

CCT COMPLIANCE

SCHEDULE

(60 Months)

6

FOLLOW-UP MONITORING

(Two 6-Month Periods)

8

REQUEST WQP PERFORMANCE REQUIREMENTS

(Within 30 Days)

EVALUATE SYSTEM OPERATION

ACTION LEVEL

EXCEEDED?

NO

YES

If Action Level Exceeded

CONTINUE 6-MONTH MONITORING

10

PUBLIC NOTIFICATION

2*

INITIAL MONITORING

Materials Evaluation

Sample Site Location Plan

Lead/Copper Tap

(Two 6-Month Periods)

4

PUBLIC EDUCATION

(Within 60 Days)

Continues if Lead Action Level is Exceeded

Consumer Tap Notice 2011 and beyond

2

INITIAL MONITORING

WQP Entry Point

WQP Distribution

Source Water

9

REDUCED

MONITORING

3

SPECIAL MONITORING

(Optional)

7

If Lead Action Level Exceeded

LSL REPLACEMENT

RE-EVALUATE FEASIBILITY STUDY

8

INCURS

WQP VIOLATION

EXCEEDS

ACTION LEVEL

8

MONITORING FOLLOWING

PERFORMANCE REQUIREMENTS

5

CCT COMPLIANCE

SCHEDULE

(60 Months)

6

FOLLOW-UP MONITORING

(Two 6-Month Periods)

8

REQUEST WQP PERFORMANCE REQUIREMENTS

(Within 30 Days)

EVALUATE SYSTEM OPERATION

ACTION LEVEL

EXCEEDED?

NO

YES

If Action Level Exceeded

CONTINUE 6-MONTH MONITORING

10

PUBLIC NOTIFICATION

2*

INITIAL MONITORING

Materials Evaluation

Sample Site Location Plan

Lead/Copper Tap

(Two 6-Month Periods)

4

PUBLIC EDUCATION

(Within 60 Days)

Continues if Lead Action Level is Exceeded

Consumer Tap Notice 2011 and beyond

2

INITIAL MONITORING

WQP Entry Point

WQP Distribution

Source Water

9

REDUCED

MONITORING

3

SPECIAL MONITORING

(Optional)

7

If Lead Action Level Exceeded

LSL REPLACEMENT

RE-EVALUATE FEASIBILITY STUDY

8

INCURS

WQP VIOLATION

EXCEEDS

ACTION LEVEL

8

MONITORING FOLLOWING

PERFORMANCE REQUIREMENTS

5

CCT COMPLIANCE

SCHEDULE

(60 Months)

6

FOLLOW-UP MONITORING

(Two 6-Month Periods)

8

REQUEST WQP PERFORMANCE REQUIREMENTS

(Within 30 Days)

EVALUATE SYSTEM OPERATION

ACTION LEVEL

EXCEEDED?

NO

YES

If Action Level Exceeded

CONTINUE 6-MONTH MONITORING

10

PUBLIC NOTIFICATION

2*

INITIAL MONITORING

Materials Evaluation

Sample Site Location Plan

Lead/Copper Tap

(Two 6-Month Periods)

4

PUBLIC EDUCATION

(Within 60 Days)

Continues if Lead Action Level is Exceeded

Consumer Tap Notice 2011 and beyond

2

INITIAL MONITORING

WQP Entry Point

WQP Distribution

Source Water

9

REDUCED

MONITORING

3

SPECIAL MONITORING

(Optional)

7

If Lead Action Level Exceeded

LSL REPLACEMENT

RE-EVALUATE FEASIBILITY STUDY

8

INCURS

WQP VIOLATION

EXCEEDS

ACTION LEVEL

8

MONITORING FOLLOWING

PERFORMANCE REQUIREMENTS

5

CCT COMPLIANCE

SCHEDULE

(60 Months)

6

FOLLOW-UP MONITORING

(Two 6-Month Periods)

8

REQUEST WQP PERFORMANCE REQUIREMENTS

(Within 30 Days)

EVALUATE SYSTEM OPERATION

ACTION LEVEL

EXCEEDED?

NO

YES

If Action Level Exceeded

CONTINUE 6-MONTH MONITORING

10

PUBLIC NOTIFICATION

2*

INITIAL MONITORING

Materials Evaluation

Sample Site Location Plan

Lead/Copper Tap

(Two 6-Month Periods)

4

PUBLIC EDUCATION

(Within 60 Days)

Continues if Lead Action Level is Exceeded

Consumer Tap Notice 2011 and beyond

2

INITIAL MONITORING

WQP Entry Point

WQP Distribution

Source Water

9

REDUCED

MONITORING

3

SPECIAL MONITORING

(Optional)

7

If Lead Action Level Exceeded

LSL REPLACEMENT

RE-EVALUATE FEASIBILITY STUDY

8

INCURS

WQP VIOLATION

EXCEEDS

ACTION LEVEL

8

MONITORING FOLLOWING

PERFORMANCE REQUIREMENTS

5

CCT COMPLIANCE

SCHEDULE

(60 Months)

6

FOLLOW-UP MONITORING

(Two 6-Month Periods)

8

REQUEST WQP PERFORMANCE REQUIREMENTS

(Within 30 Days)

EVALUATE SYSTEM OPERATION

ACTION LEVEL

EXCEEDED?

NO

YES

If Action Level Exceeded

CONTINUE 6-MONTH MONITORING

10

PUBLIC NOTIFICATION

2*

INITIAL MONITORING

Materials Evaluation

Sample Site Location Plan

Lead/Copper Tap

(Two 6-Month Periods)

4

PUBLIC EDUCATION

(Within 60 Days)

Continues if Lead Action Level is Exceeded

Consumer Tap Notice 2011 and beyond

2

INITIAL MONITORING

WQP Entry Point

WQP Distribution

Source Water

9

REDUCED

MONITORING

3

SPECIAL MONITORING

(Optional)

7

If Lead Action Level Exceeded

LSL REPLACEMENT

RE-EVALUATE FEASIBILITY STUDY

8

INCURS

WQP VIOLATION

EXCEEDS

ACTION LEVEL

8

MONITORING FOLLOWING

PERFORMANCE REQUIREMENTS

5

CCT COMPLIANCE

SCHEDULE

(60 Months)

6

FOLLOW-UP MONITORING

(Two 6-Month Periods)

8

REQUEST WQP PERFORMANCE REQUIREMENTS

(Within 30 Days)

EVALUATE SYSTEM OPERATION

ACTION LEVEL

EXCEEDED?

NO

YES

If Action Level Exceeded

CONTINUE 6-MONTH MONITORING

10

PUBLIC NOTIFICATION

2*

INITIAL MONITORING

Materials Evaluation

Sample Site Location Plan

Lead/Copper Tap

(Two 6-Month Periods)

4

PUBLIC EDUCATION

(Within 60 Days)

Continues if Lead Action Level is Exceeded

Consumer Tap Notice 2011 and beyond

2

INITIAL MONITORING

WQP Entry Point

WQP Distribution

Source Water

9

REDUCED

MONITORING

3

SPECIAL MONITORING

(Optional)

7

If Lead Action Level Exceeded

LSL REPLACEMENT

RE-EVALUATE FEASIBILITY STUDY

8

INCURS

WQP VIOLATION

EXCEEDS

ACTION LEVEL

8

MONITORING FOLLOWING

PERFORMANCE REQUIREMENTS

5

CCT COMPLIANCE

SCHEDULE

(60 Months)

6

FOLLOW-UP MONITORING

(Two 6-Month Periods)

8

REQUEST WQP PERFORMANCE REQUIREMENTS

(Within 30 Days)

EVALUATE SYSTEM OPERATION

ACTION LEVEL

EXCEEDED?

NO

YES

If Action Level Exceeded

CONTINUE 6-MONTH MONITORING

10

PUBLIC NOTIFICATION